## 1
State | Facility Name | Unit ID | Nameplate Capacity (MW) | In-Service Year | Retirement Year | notes | County | Owner | Operator | Unit Type | SO2 Control(s) | NOx Control(s)
PLANNED RETIREMENTS
AZ | Cholla | 1 | 113.6 | 1962 | 2025 | APS IRP | Navajo County | Arizona Public Service Company | Arizona Public Service Company | Tangentially-fired | Wet Lime FGD | Low NOx Burner Technology w/ Separated OFA
AZ | Cholla | 3 | 312.3 | 1980 | 2025 | APS IRP | Navajo County | Arizona Public Service Company | Arizona Public Service Company | Tangentially-fired | Wet Lime FGD | Low NOx Burner Technology w/ Closed-coupled/Separated OFA
AZ | Cholla | 4 | 414 | 1981 | 2025 | PAC IRP | Navajo County | Pacificorp Energy Generation | Arizona Public Service Company | Tangentially-fired | Wet Lime FGD | Low NOx Burner Technology w/ Closed-coupled/Separated OFA
AZ | Navajo Generating Station | 1 | 803.1 | 1974 | 2019 | announced retirement | Coconino County | Arizona Public Service Company, Los Angeles Department of Water and Power, NV Energy, Salt River Project, Tucson Electric Power Company, United States Bureau of Reclamation | Salt River Project | Tangentially-fired | Wet Limestone | Low NOx Burner Technology w/ Closed-coupled/Separated OFA<br>Other
AZ | Navajo Generating Station | 2 | 803.1 | 1975 | 2019 | announced retirement | Coconino County | Arizona Public Service Company, Los Angeles Department of Water and Power, NV Energy, Salt River Project, Tucson Electric Power Company, United States Bureau of Reclamation | Salt River Project | Tangentially-fired | Wet Limestone | Low NOx Burner Technology w/ Closed-coupled/Separated OFA<br>Other
AZ | Navajo Generating Station | 3 | 803.1 | 1976 | 2019 | announced retirement | Coconino County | Arizona Public Service Company, Los Angeles Department of Water and Power, NV Energy, Salt River Project, Tucson Electric Power Company, United States Bureau of Reclamation | Salt River Project | Tangentially-fired | Wet Limestone | Low NOx Burner Technology w/ Closed-coupled/Separated OFA<br>Other
CO | Comanche (470) | 1 | 382.5 | 1973 | 2022 | Xcel Colorado Energy Plan | Pueblo County | Public Service Company of Colorado | Public Service Company of Colorado | Tangentially-fired | Dry Lime FGD | Low NOx Burner Technology w/ Closed-coupled/Separated OFA
CO | Comanche (470) | 2 | 396 | 1975 | 2025 | Xcel Colorado Energy Plan | Pueblo County | Public Service Company of Colorado | Public Service Company of Colorado | Dry bottom wall-fired boiler | Dry Lime FGD | Low NOx Burner Technology w/ Overfire Air
CO | Craig | C1 | 446.4 | 1980 | 2025 | Legal/Regulatory | Moffat County | Pacificorp Energy Generation, Platte River Power Authority, Salt River Project, Tri-State Generation & Transmission, Xcel Energy | Tri-State Generation & Transmission | Dry bottom wall-fired boiler | Wet Limestone | Low NOx Burner Technology w/ Overfire Air
CO | Nucla | 1 | 79.3 | 1991 | 2022 | Legal/Regulatory | Montrose County | Tri-State Generation & Transmission | Tri-State Generation & Transmission | Circulating fluidized bed boiler | Fluidized Bed Limestone Injection | Other
CO | Valmont | 5 | 191.7 | 1964 | 2017 | Retired | Boulder County | Public Service Company of Colorado | Public Service Company of Colorado | Tangentially-fired | Dry Lime FGD | Low NOx Burner Technology w/ Closed-coupled/Separated OFA
MT | Colstrip | 1 | 358 | 1975 | 2022 | Legal/Regulatory | Rosebud County | Puget Sound Power & Light Company, Talen Montana, LLC | Talen Montana, LLC | Tangentially-fired | Wet Lime FGD | Low NOx Burner Technology w/ Closed-coupled OFA
MT | Colstrip | 2 | 358 | 1976 | 2022 | Legal/Regulatory | Rosebud County | Puget Sound Power & Light Company, Talen Montana, LLC | Talen Montana, LLC | Tangentially-fired | Wet Lime FGD | Low NOx Burner Technology w/ Closed-coupled OFA
MT | Lewis & Clark | B1 | 50 | 1958 | 2020 | announced retirement | Richland County | Montana Dakota Utilities Company | Montana Dakota Utilities Company | Tangentially-fired | Wet Lime FGD | Low NOx Burner Technology w/ Closed-coupled OFA
ND | R M Heskett | B1 | 25 | 1954 | 2021 | announced retirement | Morton County | Montana Dakota Utilities Company | Montana Dakota Utilities Company
ND | R M Heskett | B2 | 75 | 1963 | 2021 | announced retirement | Morton County | Montana Dakota Utilities Company | Montana Dakota Utilities Company | Bubbling fluidized bed boiler | Fluidized Bed Limestone Injection
NM | San Juan | 1 | 369 | 1976 | 2022 | PNM IRP (has SNCR) | San Juan County | Public Service Company of New Mexico, Tucson Electric Power Company | Public Service Company of New Mexico | Dry bottom wall-fired boiler | Wet Limestone | Selective Non-catalytic Reduction<br>Low NOx Burner Technology w/ Overfire Air
NM | San Juan | 2 | 369 | 1973 | 2017 | Retired | San Juan County | Public Service Company of New Mexico, Tucson Electric Power Company | Public Service Company of New Mexico | Dry bottom wall-fired boiler | Wet Limestone | Overfire Air
NM | San Juan | 3 | 555 | 1979 | 2017 | Retired | San Juan County | Public Service Company of New Mexico, South California Public Power Authority, Tri-State Generation & Transmission | Public Service Company of New Mexico | Dry bottom wall-fired boiler | Wet Limestone | Low NOx Burner Technology w/ Overfire Air
NM | San Juan | 4 | 555 | 1982 | 2022 | PNM IRP (has SNCR) | San Juan County | City of Anaheim, City of Farmington Electric Utility System, Los Alamos County, M-S-R, Public Service Company of New Mexico, Utah Associated Municipal Power Systems | Public Service Company of New Mexico | Dry bottom wall-fired boiler | Wet Limestone | Low NOx Burner Technology w/ Overfire Air
NV | North Valmy | 1 | 277.2 | 1981 | 2025 | NV IRP (may retire earlier) | Humboldt County | Idaho Power Company, Sierra Pacific Power Company | Sierra Pacific Power Company | Dry bottom wall-fired boiler |  | Low NOx Burner Technology (Dry Bottom only)
NV | North Valmy | 2 | 289.8 | 1985 | 2025 | NV IRP | Humboldt County | Idaho Power Company, Sierra Pacific Power Company | Sierra Pacific Power Company | Dry bottom wall-fired boiler | Dry Lime FGD | Low NOx Burner Technology (Dry Bottom only)
NV | Reid Gardner | 4 | 294.8 | 1983 | 2017 | Retired | Clark County | NV Energy | NV Energy | Dry bottom wall-fired boiler | Sodium Based | Low NOx Burner Technology w/ Overfire Air
OR | Boardman | 1SG | 642.2 | 1980 | 2021 | Legal/Regulatory | Morrow County | Fale-Safe, Inc., Idaho Power Company, Portland General Electric Company, Power Resources Cooperative, San Diego Gas and Electric Company | Portland General Electric Company | Dry bottom wall-fired boiler | Dry Sorbent Injection | Low NOx Burner Technology (Dry Bottom only)
UT | Intermountain | 1SGA | 820 | 1986 | 2025 | announced retirement | Millard County | Intermountain Power Agency | Intermountain Power Service Corporation | Dry bottom wall-fired boiler | Wet Limestone | Low NOx Burner Technology (Dry Bottom only)
UT | Intermountain | 2SGA | 820 | 1987 | 2025 | announced retirement | Millard County | Intermountain Power Agency | Intermountain Power Service Corporation | Dry bottom wall-fired boiler | Wet Limestone | Low NOx Burner Technology (Dry Bottom only)
WA | Centralia | BW21 | 729.9 | 1972 | 2021 | Legal/Regulatory (12/31/2020) | Lewis County | TransAlta | TransAlta | Tangentially-fired | Wet Limestone | Low NOx Burner Technology w/ Closed-coupled/Separated OFA
WA | Centralia | BW22 | 729.9 | 1973 | 2026 | Legal/Regulatory (12/31/2025) | Lewis County | TransAlta | TransAlta | Tangentially-fired | Wet Limestone | Low NOx Burner Technology w/ Closed-coupled/Separated OFA
WY | Naughton | 3 | 384 | 1971 | 2018 | Switched to gas 1/31/19 | Lincoln County | Pacificorp Energy Generation | Pacificorp Energy Generation | Tangentially-fired | Sodium Based | Low NOx Burner Technology w/ Separated OFA
WY | Dave Johnston | BW41 | 133.6 | 1959 | 2027 | PAC IRP | Converse County | Pacificorp Energy Generation | Pacificorp Energy Generation | Dry bottom wall-fired boiler
WY | Dave Johnston | BW42 | 133.6 | 1961 | 2027 | PAC IRP | Converse County | Pacificorp Energy Generation | Pacificorp Energy Generation | Dry bottom wall-fired boiler
WY | Dave Johnston | BW43 | 255 | 1964 | 2027 | PAC IRP | Converse County | Pacificorp Energy Generation | Pacificorp Energy Generation | Dry bottom wall-fired boiler | Dry Lime FGD | Low NOx Burner Technology w/ Overfire Air
WY | Dave Johnston | BW44 | 400 | 1972 | 2027 | PAC IRP | Converse County | Pacificorp Energy Generation | Pacificorp Energy Generation | Tangentially-fired | Dry Lime FGD | Low NOx Burner Technology w/ Separated OFA
POST 2028 RETIREMENT DATE - SCR INSTALLED
AZ | Coronado Generating Station | U1B | 410.9 | 1979 |  | retire or install SCR in 2025 | Apache County | Salt River Project | Salt River Project | Dry bottom turbo-fired boiler | Wet Limestone | Low NOx Burner Technology w/ Overfire Air
AZ | Coronado Generating Station | U2B | 410.9 | 1980 |  | SCR 2014 | Apache County | Salt River Project | Salt River Project | Dry bottom turbo-fired boiler | Wet Limestone | Low NOx Burner Technology w/ Overfire Air<br>Selective Catalytic Reduction
AZ | Springerville Generating Station | 4 | 458.1 | 2009 |  | scr | Apache County | Salt River Project | Tucson Electric Power Company | Dry bottom wall-fired boiler | Dry Lime FGD | Low NOx Burner Technology (Dry Bottom only)<br>Selective Catalytic Reduction
AZ | Springerville Generating Station | TS3 | 458.1 | 2006 |  | scr | Apache County | Tri-State Generation & Transmission | Tucson Electric Power Company | Dry bottom wall-fired boiler | Dry Lime FGD | Low NOx Burner Technology (Dry Bottom only)<br>Selective Catalytic Reduction
CO | Comanche (470) | 3 | 856.8 | 2010 |  | scr | Pueblo County | Holly Cross Energy, Intermountain Rural Electric Authority, Public Service Company of Colorado | Public Service Company of Colorado | Tangentially-fired | Dry Lime FGD | Selective Catalytic Reduction
CO | Craig | C2 | 446.4 | 1979 |  | SCR 2017 | Moffat County | Pacificorp Energy Generation, Platte River Power Authority, Salt River Project, Tri-State Generation & Transmission, Xcel Energy | Tri-State Generation & Transmission | Dry bottom wall-fired boiler | Wet Limestone | Low NOx Burner Technology w/ Overfire Air
CO | Hayden | H1 | 190 | 1965 | 2030 | Xcel IRP - SCR in 2015 | Routt County | Pacificorp Energy Generation, Public Service Company of Colorado | Public Service Company of Colorado | Dry bottom wall-fired boiler | Dry Lime FGD | Low NOx Burner Technology w/ Overfire Air<br>Selective Catalytic Reduction
CO | Hayden | H2 | 275.4 | 1976 | 2036 | Xcel IRP - SCR 2016 | Routt County | Pacificorp Energy Generation, Public Service Company of Colorado, Salt River Project | Public Service Company of Colorado | Tangentially-fired | Dry Lime FGD | Low NOx Burner Technology w/ Closed-coupled/Separated OFA<br>Selective Catalytic Reduction
CO | Pawnee | 1 | 552.3 | 1981 | 2034 | Xcel IRP - SCR 2014 | Morgan County | Public Service Company of Colorado | Public Service Company of Colorado | Dry bottom wall-fired boiler | Dry Lime FGD | Low NOx Burner Technology w/ Overfire Air<br>Selective Catalytic Reduction
MT | Hardin | 1 | 115.7 | 2006 |  |  |  | Rocky Mountain Power, LLC | Colorado Energy Management, LLC |  | Dry Lime FGD | Low NOx Burner Technology (Dry Bottom only)<br>Selective Catalytic Reduction
NM | Four Corners Steam Elec Station | 4 | 818.1 | 1969 |  | 2031 per TEP&PNM - SCR 2017 | San Juan County | Arizona Public Service Company, El Paso Electric Company, Public Service Company of New Mexico, Salt River Project, Tucson Electric Power Company | Arizona Public Service Company | Cell burner boiler | Wet Lime FGD | Low NOx Cell Burner
NM | Four Corners Steam Elec Station | 5 | 818.1 | 1970 |  | 2031 per TEP&PNM - SCR 2017 | San Juan County | Arizona Public Service Company, El Paso Electric Company, Public Service Company of New Mexico, Salt River Project, Tucson Electric Power Company | Arizona Public Service Company | Cell burner boiler | Wet Lime FGD | Low NOx Cell Burner
NV | TS Power Plant | 1 | 242 | 2008 |  | scr | Eureka County | Newmont Nevada Energy Investment LLC | Newmont Nevada Energy Investment LLC | Dry bottom wall-fired boiler | Dry Lime FGD | Low NOx Burner Technology w/ Overfire Air<br>Selective Catalytic Reduction
SD | Big Stone | 1 | 450 | 1975 |  | SCR | Grant | Montana Dakota Utilities Company, Northwestern Public Service Company, Otter Tail Power Company | Otter Tail Power Company | Cyclone boiler | Dry Lime FGD | Overfire Air<br>Selective Catalytic Reduction
WY | Dry Fork Station | 1 | 483.7 | 2011 |  | scr | Campbell County | Basin Electric Power Cooperative | Basin Electric Power Cooperative | Dry bottom wall-fired boiler | Dry Lime FGD | Selective Catalytic Reduction
WY | Jim Bridger | BW73 | 608.3 | 1976 | 2037 | PAC IRP - SCR 2015 | Sweetwater County | Idaho Power Company, Pacificorp Energy Generation | Pacificorp Energy Generation | Tangentially-fired | Sodium Based | Selective Catalytic Reduction<br>Low NOx Burner Technology w/ Closed-coupled OFA
WY | Jim Bridger | BW74 | 608.3 | 1979 | 2037 | PAC IRP - SCR 2016 | Sweetwater County | Idaho Power Company, Pacificorp Energy Generation | Pacificorp Energy Generation | Tangentially-fired | Sodium Based | Selective Catalytic Reduction<br>Low NOx Burner Technology w/ Closed-coupled OFA
WY | Laramie River | 1 | 570 | 1981 |  | SCR 2019 | Platte County | Basin Electric Power Cooperative, County of Los Alamos, Heartland Consumers Power District, Lincoln Electric System, Nebraska Municipal Energy Agency, Tri-State Generation & Transmission, Western Minnesota Municipal Power, Wyoming Municipal Power Agency | Basin Electric Power Cooperative | Dry bottom wall-fired boiler | Wet Limestone | Overfire Air<br>Low NOx Burner Technology (Dry Bottom only)
WY | Wygen I | 1 | 90 | 2003 |  | scr | Campbell County | Black Hills Wyoming, LLC, Municipal Energy Agency of Nebraska | Black Hills Power, Inc | Dry bottom wall-fired boiler | Dry Lime FGD | Low NOx Burner Technology w/ Overfire Air<br>Selective Catalytic Reduction
WY | Wygen II | 1 | 95 | 2008 |  | scr | Campbell County | Cheyenne Light, Fuel and Power | Black Hills Power, Inc | Dry bottom wall-fired boiler | Dry Lime FGD | Low NOx Burner Technology w/ Overfire Air<br>Selective Catalytic Reduction
WY | Wygen III | 1 | 116 | 2010 |  | scr | Campbell County | Black Hills Power, Inc, Consolidated WY Municipalities Electric Power System JPB, Montana Dakota Utilities Company | Black Hills Power, Inc | Dry bottom wall-fired boiler | Dry Lime FGD | Low NOx Burner Technology (Dry Bottom only)<br>Selective Catalytic Reduction
POST 2028 RETIREMENT DATE - SNCR INSTALLED
AZ | Apache Station | 3 | 204 | 1979 |  | SNCR 2017 | Cochise County | Arizona Electric Power Cooperative | Arizona Electric Power Cooperative | Dry bottom turbo-fired boiler | Wet Lime FGD | Overfire Air
CO | Craig | C3 | 474.4 | 1984 |  | SNCR 2017 | Moffat County | Tri-State Generation & Transmission | Tri-State Generation & Transmission | Dry bottom wall-fired boiler | Dry Lime FGD | Low NOx Burner Technology w/ Overfire Air
ND | Leland Olds | 1 | 216 | 1966 |  | SNCR | Mercer | Basin Electric Power Cooperative | Basin Electric Power Cooperative | Dry bottom wall-fired boiler | Wet Lime FGD | Low NOx Burner Technology (Dry Bottom only)<br>Overfire Air<br>Selective Non-catalytic Reduction
ND | Leland Olds | 2 | 440 | 1975 |  | SNCR | Mercer | Basin Electric Power Cooperative | Basin Electric Power Cooperative | Cyclone boiler | Wet Lime FGD | Overfire Air<br>Selective Non-catalytic Reduction
ND | Milton R Young | B1 | 257 | 1970 |  | SNCR | Oliver | Minnkota Power Cooperative, Inc. | Minnkota Power Cooperative, Inc. | Cyclone boiler | Wet Lime FGD<br>Wet Limestone | Overfire Air<br>Selective Non-catalytic Reduction
ND | Milton R Young | B2 | 477 | 1977 |  | SNCR | Oliver | Square Butte Electric Cooperative | Minnkota Power Cooperative, Inc. | Cyclone boiler | Dual Alkali<br>Wet Lime FGD | Overfire Air<br>Selective Non-catalytic Reduction
ND | Spiritwood Station | 1 | 106.2 | 2014 |  | SNCR | Stutsman | Great River Energy | Great River Energy | Circulating fluidized bed boiler | Dry Lime FGD<br>Fluidized Bed Limestone Injection | Overfire Air<br>Selective Non-catalytic Reduction
WY | Laramie River | 2 | 570 | 1981 |  | SNCR 2018 | Platte County | Basin Electric Power Cooperative, County of Los Alamos, Heartland Consumers Power District, Lincoln Electric System, Nebraska Municipal Energy Agency, Tri-State Generation & Transmission, Western Minnesota Municipal Power, Wyoming Municipal Power Agency | Basin Electric Power Cooperative | Dry bottom wall-fired boiler | Wet Limestone | Overfire Air<br>Low NOx Burner Technology (Dry Bottom only)
WY | Laramie River | 3 | 570 | 1982 |  | SNCR 2018 | Platte County | Basin Electric Power Cooperative, County of Los Alamos, Heartland Consumers Power District, Lincoln Electric System, Nebraska Municipal Energy Agency, Tri-State Generation & Transmission, Western Minnesota Municipal Power, Wyoming Municipal Power Agency | Basin Electric Power Cooperative | Dry bottom wall-fired boiler | Dry Lime FGD | Overfire Air<br>Low NOx Burner Technology (Dry Bottom only)
POST 2028 RETIREMENT DATE - NO POST COMBUSTION CONTROLS FOR NOX
AZ | Springerville Generating Station | 1 | 424.8 | 1985 |  |  | Apache County | Tucson Electric Power Company | Tucson Electric Power Company | Tangentially-fired | Dry Lime FGD | Low NOx Burner Technology w/ Closed-coupled OFA
AZ | Springerville Generating Station | 2 | 424.8 | 1990 |  |  | Apache County | Tucson Electric Power Company | Tucson Electric Power Company | Tangentially-fired | Dry Lime FGD | Low NOx Burner Technology w/ Closed-coupled OFA
CO | Martin Drake | 6 | 75 | 1968 |  | ULNB-OFA for Rnd 1 RH SIP | El Paso County | Colorado Springs Utilities | Colorado Springs Utilities | Dry bottom wall-fired boiler | Dual Alkali | Low NOx Burner Technology w/ Overfire Air
CO | Martin Drake | 7 | 132 | 1974 |  | ULNB-OFA for Rnd 1 RH SIP | El Paso County | Colorado Springs Utilities | Colorado Springs Utilities | Dry bottom wall-fired boiler | Dual Alkali | Low NOx Burner Technology w/ Overfire Air
CO | Rawhide Energy Station | 101 | 293.6 | 1984 |  | Enhanced OFA for Round 1 RH SIP | Larimer County | Platte River Power Authority | Platte River Power Authority | Tangentially-fired | Dry Lime FGD | Low NOx Burner Technology w/ Closed-coupled/Separated OFA
CO | Ray D Nixon | 1 | 207 | 1980 |  | ULNB-OFA for Rnd 1 RH SIP | El Paso County | Colorado Springs Utilities | Colorado Springs Utilities | Dry bottom wall-fired boiler | Dry Lime FGD (Began May 25, 2017) | Low NOx Burner Technology w/ Overfire Air
MT | Colstrip | 3 | 778 | 1984 |  |  | Rosebud County | Avista Corporation, Pacificorp Energy Generation, Portland General Electric Company, Puget Sound Power & Light Company, Talen Montana, LLC | Talen Montana, LLC | Tangentially-fired | Wet Lime FGD | Low NOx Burner Technology w/ Closed-coupled/Separated OFA
MT | Colstrip | 4 | 778 | 1986 |  |  | Rosebud County | Avista Corporation, Bank of New York, NorthWestern Energy, LLC, Pacificorp Energy Generation, Portland General Electric Company, Puget Sound Power & Light Company, Talen Montana, LLC | Talen Montana, LLC | Tangentially-fired | Wet Lime FGD | Low NOx Burner Technology w/ Closed-coupled/Separated OFA
ND | Antelope Valley | B1 | 434.9 | 1984 |  |  | Mercer | Basin Electric Power Cooperative | Basin Electric Power Cooperative | Tangentially-fired | Dry Lime FGD | Low NOx Burner Technology w/ Closed-coupled/Separated OFA
ND | Antelope Valley | B2 | 434.9 | 1986 |  |  | Mercer | Basin Electric Power Cooperative | Basin Electric Power Cooperative | Tangentially-fired | Dry Lime FGD | Low NOx Burner Technology w/ Closed-coupled/Separated OFA
ND | Coal Creek | 1 | 604.8 | 1979 |  |  | McLean | Great River Energy | Great River Energy | Tangentially-fired | Wet Lime FGD | Low NOx Burner Technology w/ Closed-coupled/Separated OFA
ND | Coal Creek | 2 | 604.8 | 1980 |  |  | McLean | Great River Energy | Great River Energy | Tangentially-fired | Wet Lime FGD | Low NOx Burner Technology w/ Closed-coupled/Separated OFA<br>Overfire Air
ND | Coyote | B1 | 450 | 1981 |  |  | Mercer | Montana Dakota Utilities Company, Northern Municipal Power Agency, Northwestern Public Service Company, Otter Tail Power Company | Otter Tail Power Company | Cyclone boiler | Dry Lime FGD | Overfire Air
NM | Escalante | 1 | 257 | 1984 |  |  | McKinley County | Tri-State Generation & Transmission | Tri-State Generation & Transmission | Tangentially-fired | Wet Limestone | Other
UT | Bonanza | 2018-01-01 | 499.5 | 1986 | 2030 | coal consumption cap | Uintah County | Deseret Generation & Transmission, Utah Municipal Power Agency | Deseret Generation & Transmission | Dry bottom wall-fired boiler | Wet Limestone | Low NOx Burner Technology (Dry Bottom only)
UT | Hunter | 1 | 525 | 1978 | 2042 | PAC IRP - Haze Lawsuit | Emery County | Pacificorp Energy Generation, Utah Municipal Power Agency | Pacificorp Energy Generation | Tangentially-fired | Wet Lime FGD | Low NOx Burner Technology w/ Closed-coupled OFA
UT | Hunter | 2 | 525 | 1980 | 2042 | PAC IRP - Haze Lawsuit | Emery County | Deseret Generation & Transmission, Pacificorp Energy Generation, Utah Associated Municipal Power Systems | Pacificorp Energy Generation | Tangentially-fired | Wet Lime FGD | Low NOx Burner Technology w/ Separated OFA
UT | Hunter | 3 | 527.2 | 1983 | 2042 | PAC IRP | Emery County | Pacificorp Energy Generation | Pacificorp Energy Generation | Dry bottom wall-fired boiler | Wet Lime FGD | Low NOx Burner Technology w/ Overfire Air
UT | Huntington | 1 | 541.3 | 1977 | 2036 | PAC IRP - Haze Lawsuit | Emery County | Pacificorp Energy Generation | Pacificorp Energy Generation | Tangentially-fired | Wet Lime FGD | Low NOx Burner Technology w/ Closed-coupled OFA
UT | Huntington | 2 | 496 | 1974 | 2036 | PAC IRP - Haze Lawsuit | Emery County | Pacificorp Energy Generation | Pacificorp Energy Generation | Tangentially-fired | Wet Lime FGD | Low NOx Burner Technology w/ Separated OFA
WY | Jim Bridger | BW71 | 608.3 | 1974 |  |  | Sweetwater County | Idaho Power Company, Pacificorp Energy Generation | Pacificorp Energy Generation | Tangentially-fired | Sodium Based | Low NOx Burner Technology w/ Closed-coupled OFA
WY | Jim Bridger | BW72 | 617 | 1975 |  |  | Sweetwater County | Idaho Power Company, Pacificorp Energy Generation | Pacificorp Energy Generation | Tangentially-fired | Sodium Based | Low NOx Burner Technology w/ Closed-coupled OFA
WY | Naughton | 1 | 192 | 1963 | 2029 | PAC IRP | Lincoln County | Pacificorp Energy Generation | Pacificorp Energy Generation | Tangentially-fired | Sodium Based | Low NOx Burner Technology w/ Separated OFA
WY | Naughton | 2 | 256 | 1968 | 2029 | PAC IRP | Lincoln County | Pacificorp Energy Generation | Pacificorp Energy Generation | Tangentially-fired | Sodium Based | Low NOx Burner Technology w/ Separated OFA
WY | Neil Simpson II | 1 | 90 | 1995 |  |  | Campbell County | Black Hills Power, Inc | Black Hills Power, Inc | Dry bottom wall-fired boiler | Dry Lime FGD | Low NOx Burner Technology w/ Overfire Air
WY | Wyodak | BW91 | 402.3 | 1978 | 2039 | PAC IRP - Haze Lawsuit | Campbell County | Black Hills Corporation, Pacificorp Energy Generation | Pacificorp Energy Generation | Dry bottom wall-fired boiler | Dry Lime FGD | Low NOx Burner Technology w/ Overfire Air