## emission_11-30-2018_084648876
State | Facility Name | Facility ID (ORISPL) | Unit ID | Year | Operating Time | Gross Load (MW-h) | SO2 (tons) | Avg. NOx Rate (lb/MMBtu) | NOx (tons) | CO2 (short tons) | Heat Input (MMBtu) | Owner | Operator | Unit Type | Fuel Type (Primary) | Fuel Type (Secondary) | SO2 Control(s) | NOx Control(s)
ID | Bennett Mountain Power Project | 55733 | CT01 | 2014 | 489.07 | 72224.79 | 0.23 | 0.074 | 27.318 | 45555.112 | 766559.814 | Idaho Power Company | Idaho Power Company | Combustion turbine | Pipeline Natural Gas |  |  | Dry Low NOx Burners
ID | Bennett Mountain Power Project | 55733 | CT01 | 2015 | 1055.3 | 159115.54 | 0.506 | 0.0752 | 62.275 | 100296.885 | 1687707.287 | Idaho Power Company | Idaho Power Company | Combustion turbine | Pipeline Natural Gas |  |  | Dry Low NOx Burners
ID | Bennett Mountain Power Project | 55733 | CT01 | 2016 | 677.76 | 104493.79 | 0.331 | 0.0831 | 43.824 | 65505.769 | 1102280.35 | Idaho Power Company | Idaho Power Company | Combustion turbine | Pipeline Natural Gas |  |  | Dry Low NOx Burners
ID | Bennett Mountain Power Project | 55733 | CT01 | 2017 | 625.15 | 87340.08 | 0.284 | 0.0849 | 38.26 | 56314.366 | 947619.765 | Idaho Power Company | Idaho Power Company | Combustion turbine | Pipeline Natural Gas |  |  | Dry Low NOx Burners
ID | Evander Andrews Power Complex | 7953 | CT1 | 2014 | 342.53 | 53865.68 | 0.168 | 0.0442 | 9.927 | 33203.051 | 558701.438 | Idaho Power Company | Idaho Power Company | Combustion turbine | Pipeline Natural Gas |  |  | Dry Low NOx Burners
ID | Evander Andrews Power Complex | 7953 | CT1 | 2015 | 1526.85 | 243643.77 | 0.765 | 0.0426 | 44.552 | 151608.24 | 2551076.104 | Idaho Power Company | Idaho Power Company | Combustion turbine | Pipeline Natural Gas |  |  | Dry Low NOx Burners
ID | Evander Andrews Power Complex | 7953 | CT1 | 2016 | 1169.11 | 185250.52 | 0.581 | 0.0463 | 36.69 | 115089.501 | 1936588.689 | Idaho Power Company | Idaho Power Company | Combustion turbine | Pipeline Natural Gas |  |  | Dry Low NOx Burners
ID | Evander Andrews Power Complex | 7953 | CT1 | 2017 | 404.04 | 62638.53 | 0.198 | 0.0493 | 13.261 | 39288.369 | 661111.412 | Idaho Power Company | Idaho Power Company | Combustion turbine | Pipeline Natural Gas |  |  | Dry Low NOx Burners
ID | Evander Andrews Power Complex | 7953 | CT2 | 2014 | 40.05 | 1457.99 | 0.005 | 0.0938 | 0.636 | 925.3 | 15567.698 | Idaho Power Company | Idaho Power Company | Combustion turbine | Pipeline Natural Gas |  |  | Dry Low NOx Burners
ID | Evander Andrews Power Complex | 7953 | CT2 | 2015 | 182.75 | 6814.96 | 0.024 | 0.083 | 2.957 | 4823.944 | 81157.223 | Idaho Power Company | Idaho Power Company | Combustion turbine | Pipeline Natural Gas |  |  | Dry Low NOx Burners
ID | Evander Andrews Power Complex | 7953 | CT2 | 2016 | 196.07 | 7414.61 | 0.027 | 0.0888 | 3.488 | 5283.703 | 88911.465 | Idaho Power Company | Idaho Power Company | Combustion turbine | Pipeline Natural Gas |  |  | Dry Low NOx Burners
ID | Evander Andrews Power Complex | 7953 | CT2 | 2017 | 69.18 | 2476.38 | 0.009 | 0.0984 | 1.287 | 1795.983 | 30221.643 | Idaho Power Company | Idaho Power Company | Combustion turbine | Pipeline Natural Gas |  |  | Dry Low NOx Burners
ID | Evander Andrews Power Complex | 7953 | CT3 | 2014 | 42.92 | 1531.8 | 0.005 | 0.0826 | 0.657 | 1023.571 | 17224.808 | Idaho Power Company | Idaho Power Company | Combustion turbine | Pipeline Natural Gas |  |  | Dry Low NOx Burners
ID | Evander Andrews Power Complex | 7953 | CT3 | 2015 | 175.13 | 6441.91 | 0.023 | 0.0868 | 3.122 | 4515.999 | 75961.711 | Idaho Power Company | Idaho Power Company | Combustion turbine | Pipeline Natural Gas |  |  | Dry Low NOx Burners
ID | Evander Andrews Power Complex | 7953 | CT3 | 2016 | 206.38 | 7544.39 | 0.028 | 0.0916 | 3.935 | 5526.815 | 93016.885 | Idaho Power Company | Idaho Power Company | Combustion turbine | Pipeline Natural Gas |  |  | Dry Low NOx Burners
ID | Evander Andrews Power Complex | 7953 | CT3 | 2017 | 83.87 | 2944.77 | 0.011 | 0.1017 | 1.683 | 2191.301 | 36876.698 | Idaho Power Company | Idaho Power Company | Combustion turbine | Pipeline Natural Gas |  |  | Dry Low NOx Burners
ID | Langley Gulch Power Plant | 57028 | CT1 | 2014 | 3984.5 | 1131326.04 | 2.166 | 0.0098 | 29.595 | 429054.776 | 7219624.287 | Idaho Power Company | Idaho Power Company | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
ID | Langley Gulch Power Plant | 57028 | CT1 | 2015 | 6128.67 | 1776770.95 | 3.372 | 0.0076 | 41.547 | 667889.717 | 11238514.74 | Idaho Power Company | Idaho Power Company | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
ID | Langley Gulch Power Plant | 57028 | CT1 | 2016 | 5470.3 | 1536073.86 | 2.99 | 0.0081 | 35.473 | 592268.799 | 9966036.805 | Idaho Power Company | Idaho Power Company | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
ID | Langley Gulch Power Plant | 57028 | CT1 | 2017 | 5104.57 | 1456001.15 | 2.812 | 0.0075 | 32.891 | 556920.253 | 9371287.243 | Idaho Power Company | Idaho Power Company | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
ID | Rathdrum Combustion Turbine Project | 7456 | 1899-12-31 | 2014 | 56.88 | 4264.9 | 0.013 | 0.0948 | 1.611 | 2512.594 | 42283.551 | Avista Corporation | Avista Corporation | Combustion turbine | Pipeline Natural Gas |  |  | Dry Low NOx Burners
ID | Rathdrum Combustion Turbine Project | 7456 | 1899-12-31 | 2015 | 317.62 | 22353.3 | 0.069 | 0.0749 | 7.083 | 13596.114 | 228779.966 | Avista Corporation | Avista Corporation | Combustion turbine | Pipeline Natural Gas |  |  | Dry Low NOx Burners
ID | Rathdrum Combustion Turbine Project | 7456 | 1899-12-31 | 2016 | 264.76 | 18484.55 | 0.056 | 0.0652 | 5.048 | 11173.98 | 188024.211 | Avista Corporation | Avista Corporation | Combustion turbine | Pipeline Natural Gas |  |  | Dry Low NOx Burners
ID | Rathdrum Combustion Turbine Project | 7456 | 1 | 2017 | 429.71 | 28817.27 | 0.088 | 0.0503 | 5.771 | 17487.9 | 294282.858 | Avista Corporation | Avista Corporation | Combustion turbine | Pipeline Natural Gas |  |  | Dry Low NOx Burners
ID | Rathdrum Combustion Turbine Project | 7456 | 2 | 2014 | 137.59 | 9322.3 | 0.029 | 0.0954 | 3.419 | 5814.314 | 97839.366 | Avista Corporation | Avista Corporation | Combustion turbine | Pipeline Natural Gas |  |  | Dry Low NOx Burners
ID | Rathdrum Combustion Turbine Project | 7456 | 2 | 2015 | 465.87 | 30365.6 | 0.099 | 0.0644 | 7.779 | 19631.346 | 330349.755 | Avista Corporation | Avista Corporation | Combustion turbine | Pipeline Natural Gas |  |  | Dry Low NOx Burners
ID | Rathdrum Combustion Turbine Project | 7456 | 2 | 2016 | 350.04 | 22980.92 | 0.071 | 0.0571 | 4.924 | 14110.685 | 237434.025 | Avista Corporation | Avista Corporation | Combustion turbine | Pipeline Natural Gas |  |  | Dry Low NOx Burners
ID | Rathdrum Combustion Turbine Project | 7456 | 2 | 2017 | 684.88 | 43234.9 | 0.132 | 0.0516 | 8.754 | 26097.793 | 439137.544 | Avista Corporation | Avista Corporation | Combustion turbine | Pipeline Natural Gas |  |  | Dry Low NOx Burners
ID | Rathdrum Power, LLC | 55179 | CTGEN1 | 2014 | 5291.78 | 1219295.5 | 2.559 | 0.0242 | 65.374 | 506846.633 | 8528691.718 | Rathdrum Power, LLC | Rathdrum Operating Services, Inc. | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
ID | Rathdrum Power, LLC | 55179 | CTGEN1 | 2015 | 6591.85 | 1552559.43 | 3.25 | 0.0202 | 87.141 | 643815.253 | 10833463.173 | Rathdrum Power, LLC | Rathdrum Operating Services, Inc. | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
ID | Rathdrum Power, LLC | 55179 | CTGEN1 | 2016 | 5647.63 | 1331972.66 | 2.791 | 0.0178 | 62.599 | 552764.823 | 9301340.887 | Rathdrum Power, LLC | Rathdrum Operating Services, Inc. | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
ID | Rathdrum Power, LLC | 55179 | CTGEN1 | 2017 | 5817.25 | 1353341.87 | 2.842 | 0.0181 | 64.171 | 562896.575 | 9471860.019 | Rathdrum Power, LLC | Rathdrum Operating Services, Inc. | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
MT | Colstrip | 6076 | 1 | 2014 | 8291.78 | 2254364.68 | 2602.92 | 0.3196 | 3893.462 | 2504417.668 | 23885027.336 | P P & L Montana, LLC, Puget Sound Power & Light Company | P P & L Montana, LLC | Tangentially-fired | Coal |  | Wet Lime FGD | Low NOx Burner Technology w/ Closed-coupled OFA
MT | Colstrip | 6076 | 1 | 2015 | 8055.22 | 2144280.5 | 2037.8 | 0.3265 | 3797.075 | 2370011.126 | 22608947.658 | P P & L Montana, LLC, Puget Sound Power & Light Company, Talen Montana, LLC | P P & L Montana, LLC, Talen Montana, LLC | Tangentially-fired | Coal |  | Wet Lime FGD | Low NOx Burner Technology w/ Closed-coupled OFA
MT | Colstrip | 6076 | 1 | 2016 | 6779 | 1824034.76 | 1739.844 | 0.3399 | 3474.907 | 2089555.135 | 19939830.159 | Puget Sound Power & Light Company, Talen Montana, LLC | Talen Montana, LLC | Tangentially-fired | Coal |  | Wet Lime FGD | Low NOx Burner Technology w/ Closed-coupled OFA
MT | Colstrip | 6076 | 1 | 2017 | 6787.75 | 1792272.15 | 1936.412 | 0.3435 | 3236.239 | 1945021.754 | 18556303.588 | Puget Sound Power & Light Company, Talen Montana, LLC | Talen Montana, LLC | Tangentially-fired | Coal |  | Wet Lime FGD | Low NOx Burner Technology w/ Closed-coupled OFA
MT | Colstrip | 6076 | 2 | 2014 | 8458.12 | 2279561.25 | 3518.124 | 0.3084 | 3957.377 | 2586848.699 | 24671018.294 | P P & L Montana, LLC, Puget Sound Power & Light Company | P P & L Montana, LLC | Tangentially-fired | Coal |  | Wet Lime FGD | Low NOx Burner Technology w/ Closed-coupled OFA
MT | Colstrip | 6076 | 2 | 2015 | 6956.23 | 1857608.09 | 1847.747 | 0.2163 | 2228.619 | 2188185.203 | 20875137.656 | P P & L Montana, LLC, Puget Sound Power & Light Company, Talen Montana, LLC | P P & L Montana, LLC, Talen Montana, LLC | Tangentially-fired | Coal |  | Wet Lime FGD | Low NOx Burner Technology w/ Closed-coupled OFA
MT | Colstrip | 6076 | 2 | 2016 | 8044.79 | 2152696.71 | 2055.792 | 0.1439 | 1736.531 | 2486106.937 | 23711538.385 | Puget Sound Power & Light Company, Talen Montana, LLC | Talen Montana, LLC | Tangentially-fired | Coal |  | Wet Lime FGD | Low NOx Burner Technology w/ Closed-coupled OFA
MT | Colstrip | 6076 | 1900-01-01 | 2017 | 8042.93 | 2180091.2 | 2526.066 | 0.1588 | 1890.314 | 2445266.577 | 23321104.259 | Puget Sound Power & Light Company, Talen Montana, LLC | Talen Montana, LLC | Tangentially-fired | Coal |  | Wet Lime FGD | Low NOx Burner Technology w/ Closed-coupled OFA
MT | Colstrip | 6076 | 1900-01-02 | 2014 | 6993.81 | 5006380.95 | 2206.576 | 0.1586 | 4093.449 | 5333124.688 | 50849818.539 | Avista Corporation, P P & L Montana, LLC, Pacificorp Energy Generation, Portland General Electric Company, Puget Sound Power & Light Company | P P & L Montana, LLC | Tangentially-fired | Coal |  | Wet Lime FGD | Low NOx Burner Technology w/ Closed-coupled/Separated OFA
MT | Colstrip | 6076 | 1900-01-02 | 2015 | 8447.8 | 6116257 | 2902.682 | 0.1637 | 5052.621 | 6391958.188 | 60945402.225 | Avista Corporation, P P & L Montana, LLC, Pacificorp Energy Generation, Portland General Electric Company, Puget Sound Power & Light Company, Talen Montana, LLC | P P & L Montana, LLC, Talen Montana, LLC | Tangentially-fired | Coal |  | Wet Lime FGD | Low NOx Burner Technology w/ Closed-coupled/Separated OFA
MT | Colstrip | 6076 | 1900-01-02 | 2016 | 8146.03 | 5633089.01 | 2602.594 | 0.1575 | 4504.773 | 5894410.409 | 56201471.214 | Avista Corporation, Pacificorp Energy Generation, Portland General Electric Company, Puget Sound Power & Light Company, Talen Montana, LLC | Talen Montana, LLC | Tangentially-fired | Coal |  | Wet Lime FGD | Low NOx Burner Technology w/ Closed-coupled/Separated OFA
MT | Colstrip | 6076 | 1900-01-02 | 2017 | 7251.26 | 5029732.62 | 2279.834 | 0.1488 | 3752.78 | 5178017.971 | 49370890.696 | Avista Corporation, Pacificorp Energy Generation, Portland General Electric Company, Puget Sound Power & Light Company, Talen Montana, LLC | Talen Montana, LLC | Tangentially-fired | Coal |  | Wet Lime FGD | Low NOx Burner Technology w/ Closed-coupled/Separated OFA
MT | Colstrip | 6076 | 1900-01-03 | 2014 | 7915.33 | 5551214.55 | 2473.753 | 0.1643 | 4591.639 | 5885405.356 | 56115653.637 | Avista Corporation, Bank of New York, NorthWestern Energy, LLC, P P & L Montana, LLC, Pacificorp Energy Generation, Portland General Electric Company, Puget Sound Power & Light Company | P P & L Montana, LLC | Tangentially-fired | Coal |  | Wet Lime FGD | Low NOx Burner Technology w/ Closed-coupled/Separated OFA
MT | Colstrip | 6076 | 1900-01-03 | 2015 | 8480.8 | 6170099.09 | 2863.668 | 0.1652 | 5159.868 | 6525754.538 | 62221138.578 | Avista Corporation, Bank of New York, NorthWestern Energy, LLC, P P & L Montana, LLC, Pacificorp Energy Generation, Portland General Electric Company, Puget Sound Power & Light Company, Talen Montana, LLC | P P & L Montana, LLC, Talen Montana, LLC | Tangentially-fired | Coal |  | Wet Lime FGD | Low NOx Burner Technology w/ Closed-coupled/Separated OFA
MT | Colstrip | 6076 | 1900-01-03 | 2016 | 7384.97 | 5118577.14 | 2327.959 | 0.1511 | 3816.965 | 5272267.457 | 50269533.001 | Avista Corporation, Bank of New York, NorthWestern Energy, LLC, Pacificorp Energy Generation, Portland General Electric Company, Puget Sound Power & Light Company, Talen Montana, LLC | Talen Montana, LLC | Tangentially-fired | Coal |  | Wet Lime FGD | Low NOx Burner Technology w/ Closed-coupled/Separated OFA
MT | Colstrip | 6076 | 1900-01-03 | 2017 | 8449.02 | 5705121.25 | 2381.968 | 0.1542 | 4195.04 | 5672252.482 | 54083267.142 | Avista Corporation, Bank of New York, NorthWestern Energy, LLC, Pacificorp Energy Generation, Portland General Electric Company, Puget Sound Power & Light Company, Talen Montana, LLC | Talen Montana, LLC | Tangentially-fired | Coal |  | Wet Lime FGD | Low NOx Burner Technology w/ Closed-coupled/Separated OFA
MT | Culbertson Station | 56606 | CT01 | 2014 | 787.84 | 66046.36 | 0.15 | 0.0918 | 22.6 | 29753.63 | 500659.534 | Basin Electric Power Cooperative | Basin Electric Power Cooperative | Combustion turbine | Pipeline Natural Gas |  |  | Water Injection
MT | Culbertson Station | 56606 | CT01 | 2015 | 1495.23 | 107603.63 | 0.255 | 0.0925 | 38.474 | 50517.606 | 850037.767 | Basin Electric Power Cooperative | Basin Electric Power Cooperative | Combustion turbine | Pipeline Natural Gas |  |  | Water Injection
MT | Culbertson Station | 56606 | CT01 | 2016 | 2231.28 | 100403.95 | 0.283 | 0.0921 | 41.415 | 55963.495 | 941663.849 | Basin Electric Power Cooperative | Basin Electric Power Cooperative | Combustion turbine | Pipeline Natural Gas |  |  | Water Injection
MT | Culbertson Station | 56606 | CT01 | 2017 | 1259.66 | 47508.45 | 0.145 | 0.0938 | 21.435 | 28671.953 | 482470.229 | Basin Electric Power Cooperative | Basin Electric Power Cooperative | Combustion turbine | Pipeline Natural Gas |  |  | Water Injection
MT | Glendive Generating Station | 2176 | GT-2 | 2014 | 110.48 | 2079.81 | 0.139 | 0.1861 | 2.462 | 1737.163 | 24209.222 | Montana Dakota Utilities Company | Montana Dakota Utilities Company | Combustion turbine | Pipeline Natural Gas | Diesel Oil |  | Dry Low NOx Burners
MT | Glendive Generating Station | 2176 | GT-2 | 2015 | 69.97 | 1465.38 | 0.018 | 0.1158 | 1.118 | 1035.712 | 16395.827 | Montana Dakota Utilities Company | Montana Dakota Utilities Company | Combustion turbine | Pipeline Natural Gas | Diesel Oil |  | Dry Low NOx Burners
MT | Glendive Generating Station | 2176 | GT-2 | 2016 | 323.3 | 5916.93 | 0.04 | 0.0882 | 3.33 | 4391.433 | 72520.402 | Montana Dakota Utilities Company | Montana Dakota Utilities Company | Combustion turbine | Pipeline Natural Gas | Diesel Oil |  | Dry Low NOx Burners
MT | Glendive Generating Station | 2176 | GT-2 | 2017 | 95.5 | 2158.79 | 0.022 | 0.1119 | 1.468 | 1474.392 | 23654.676 | Montana Dakota Utilities Company | Montana Dakota Utilities Company | Combustion turbine | Pipeline Natural Gas | Diesel Oil |  | Dry Low NOx Burners
MT | Hardin Generating Station | 55749 | U1 | 2014 | 7175.42 | 766445.77 | 390.682 | 0.0793 | 358.693 | 931025.031 | 8879990.774 | Rocky Mountain Power, LLC | Colorado Energy Management, LLC | Dry bottom wall-fired boiler | Coal |  | Dry Lime FGD | Low NOx Burner Technology (Dry Bottom only)<br>Selective Catalytic Reduction
MT | Hardin Generating Station | 55749 | U1 | 2015 | 5424.26 | 553746.59 | 296.66 | 0.0787 | 258.864 | 672240.198 | 6412641.004 | Rocky Mountain Power, LLC | Colorado Energy Management, LLC | Dry bottom wall-fired boiler | Coal |  | Dry Lime FGD | Low NOx Burner Technology (Dry Bottom only)<br>Selective Catalytic Reduction
MT | Hardin Generating Station | 55749 | U1 | 2016 | 3531.57 | 392351.51 | 209.121 | 0.0787 | 185.15 | 483941.378 | 4621073.17 | Rocky Mountain Power, LLC | Colorado Energy Management, LLC | Dry bottom wall-fired boiler | Coal |  | Dry Lime FGD | Low NOx Burner Technology (Dry Bottom only)<br>Selective Catalytic Reduction
MT | Hardin Generating Station | 55749 | U1 | 2017 | 1378.76 | 133348.24 | 71.628 | 0.0796 | 65.586 | 169936.293 | 1620839.248 | Rocky Mountain Power, LLC | Colorado Energy Management, LLC | Dry bottom wall-fired boiler | Coal |  | Dry Lime FGD | Low NOx Burner Technology (Dry Bottom only)<br>Selective Catalytic Reduction
MT | Highwood Generating Station | 57480 | HGS1 | 2014 | 0 | [6 empty] | Southern Montana Electric G & T Cooperative, Inc. | Southern Montana Electric G & T Cooperative, Inc. | Combustion turbine | Pipeline Natural Gas |  |  | Dry Low NOx Burners
MT | Highwood Generating Station | 57480 | HGS1 | 2015 | 0 | [6 empty] | Southern Montana Electric G & T Cooperative, Inc. | Southern Montana Electric G & T Cooperative, Inc. | Combustion turbine | Pipeline Natural Gas |  |  | Dry Low NOx Burners
MT | J E Corette | 2187 | 2 | 2014 | 5283.06 | 622023.81 | 1620.073 | 0.2597 | 864.376 | 687763.242 | 6557653.846 | P P & L Montana, LLC | P P & L Montana, LLC | Tangentially-fired | Coal |  |  | Low NOx Burner Technology w/ Closed-coupled OFA
MT | J E Corette | 2187 | 2 | 2015 | 1470.45 | 164196.25 | 435.231 | 0.2703 | 234.192 | 184426.665 | 1758458.055 | P P & L Montana, LLC, Talen Montana, LLC | P P & L Montana, LLC, Talen Montana, LLC | Tangentially-fired | Coal |  |  | Low NOx Burner Technology w/ Closed-coupled OFA
MT | Lewis & Clark | 6089 | B1 | 2014 | 7679.25 | 317318.08 | 1045.426 | 0.3683 | 752.502 | 440778.283 | 4052904.719 | Montana Dakota Utilities Company | Montana Dakota Utilities Company | Tangentially-fired | Coal | Pipeline Natural Gas | Wet Lime FGD | Low NOx Burner Technology w/ Closed-coupled OFA
MT | Lewis & Clark | 6089 | B1 | 2015 | 6122.62 | 244032.5 | 684.851 | 0.3717 | 572.739 | 329140.842 | 3028890.031 | Montana Dakota Utilities Company | Montana Dakota Utilities Company | Tangentially-fired | Coal | Pipeline Natural Gas | Wet Lime FGD | Low NOx Burner Technology w/ Closed-coupled OFA
MT | Lewis & Clark | 6089 | B1 | 2016 | 7574.15 | 287156.56 | 34.578 | 0.3608 | 623.679 | 372293.908 | 3426028.972 | Montana Dakota Utilities Company | Montana Dakota Utilities Company | Tangentially-fired | Coal | Pipeline Natural Gas | Wet Lime FGD | Low NOx Burner Technology w/ Closed-coupled OFA
MT | Lewis & Clark | 6089 | B1 | 2017 | 6351.07 | 249664 | 24.949 | 0.3675 | 578.87 | 338821.353 | 3117133.784 | Montana Dakota Utilities Company | Montana Dakota Utilities Company | Tangentially-fired | Coal | Pipeline Natural Gas | Wet Lime FGD | Low NOx Burner Technology w/ Closed-coupled OFA
MT | Mill Creek Generating Station | 56908 | 1A | 2014 | 6062.98 | 90087.11 | 0.424 | 0.0176 | 9.987 | 65987.103 | 1103266.814 | NorthWestern Energy | NAES Corporation | Combustion turbine | Pipeline Natural Gas | Diesel Oil |  | Water Injection<br>Selective Catalytic Reduction
MT | Mill Creek Generating Station | 56908 | 1A | 2015 | 7209.8 | 106378.89 | 0.391 | 0.0171 | 11.546 | 77139.855 | 1297976.475 | NorthWestern Energy | NAES Corporation | Combustion turbine | Pipeline Natural Gas | Diesel Oil |  | Water Injection<br>Selective Catalytic Reduction
MT | Mill Creek Generating Station | 56908 | 1A | 2016 | 4045.53 | 59063.56 | 0.217 | 0.0175 | 6.178 | 43041.729 | 724206.806 | NorthWestern Energy | NAES Corporation | Combustion turbine | Pipeline Natural Gas | Diesel Oil |  | Water Injection<br>Selective Catalytic Reduction
MT | Mill Creek Generating Station | 56908 | 1A | 2017 | 3022.16 | 40796.67 | 0.156 | 0.0151 | 3.861 | 30751.217 | 517325.724 | NorthWestern Energy | NAES Corporation | Combustion turbine | Pipeline Natural Gas | Diesel Oil |  | Water Injection<br>Selective Catalytic Reduction
MT | Mill Creek Generating Station | 56908 | 1B | 2014 | 5393.38 | 81473.83 | 0.367 | 0.0174 | 8.94 | 59845.89 | 1001936.292 | NorthWestern Energy | NAES Corporation | Combustion turbine | Pipeline Natural Gas | Diesel Oil |  | Water Injection<br>Selective Catalytic Reduction
MT | Mill Creek Generating Station | 56908 | 1B | 2015 | 5982.1 | 91244.52 | 0.332 | 0.0172 | 9.87 | 65528.327 | 1102444.359 | NorthWestern Energy | NAES Corporation | Combustion turbine | Pipeline Natural Gas | Diesel Oil |  | Water Injection<br>Selective Catalytic Reduction
MT | Mill Creek Generating Station | 56908 | 1B | 2016 | 4367.71 | 60026.36 | 0.222 | 0.0165 | 6.051 | 43890.813 | 738543.937 | NorthWestern Energy | NAES Corporation | Combustion turbine | Pipeline Natural Gas | Diesel Oil |  | Water Injection<br>Selective Catalytic Reduction
MT | Mill Creek Generating Station | 56908 | 1B | 2017 | 2999.2 | 37151.32 | 0.14 | 0.0155 | 3.494 | 27714.766 | 466321.823 | NorthWestern Energy | NAES Corporation | Combustion turbine | Pipeline Natural Gas | Diesel Oil |  | Water Injection<br>Selective Catalytic Reduction
MT | Mill Creek Generating Station | 56908 | 2A | 2014 | 2840.61 | 43121.15 | 0.238 | 0.0214 | 5.677 | 31886.195 | 530509.31 | NorthWestern Energy | NAES Corporation | Combustion turbine | Pipeline Natural Gas | Diesel Oil |  | Water Injection<br>Selective Catalytic Reduction
MT | Mill Creek Generating Station | 56908 | 2A | 2015 | 0 | [6 empty] | NorthWestern Energy | NAES Corporation | Combustion turbine | Pipeline Natural Gas | Diesel Oil |  | Water Injection<br>Selective Catalytic Reduction
MT | Mill Creek Generating Station | 56908 | 2A | 2016 | 3851.94 | 51859.41 | 0.198 | 0.0157 | 4.929 | 38329.788 | 644571.819 | NorthWestern Energy | NAES Corporation | Combustion turbine | Pipeline Natural Gas | Diesel Oil |  | Water Injection<br>Selective Catalytic Reduction
MT | Mill Creek Generating Station | 56908 | 2A | 2017 | 3040.39 | 40537.28 | 0.152 | 0.0172 | 4.158 | 29978.923 | 504419.526 | NorthWestern Energy | NAES Corporation | Combustion turbine | Pipeline Natural Gas | Diesel Oil |  | Water Injection<br>Selective Catalytic Reduction
MT | Mill Creek Generating Station | 56908 | 2B | 2014 | 2350.47 | 35469.16 | 0.257 | 0.0203 | 4.46 | 26505.121 | 436463.624 | NorthWestern Energy | NAES Corporation | Combustion turbine | Pipeline Natural Gas | Diesel Oil |  | Water Injection<br>Selective Catalytic Reduction
MT | Mill Creek Generating Station | 56908 | 2B | 2015 | 3991.37 | 57389.95 | 0.208 | 0.0139 | 4.887 | 41263.399 | 694310.114 | NorthWestern Energy | NAES Corporation | Combustion turbine | Pipeline Natural Gas | Diesel Oil |  | Water Injection<br>Selective Catalytic Reduction
MT | Mill Creek Generating Station | 56908 | 2B | 2016 | 3960.15 | 54884.77 | 0.203 | 0.015 | 5.004 | 40192.14 | 676319.392 | NorthWestern Energy | NAES Corporation | Combustion turbine | Pipeline Natural Gas | Diesel Oil |  | Water Injection<br>Selective Catalytic Reduction
MT | Mill Creek Generating Station | 56908 | 2B | 2017 | 2897.31 | 39377.22 | 0.146 | 0.0168 | 3.947 | 28902.28 | 486304.184 | NorthWestern Energy | NAES Corporation | Combustion turbine | Pipeline Natural Gas | Diesel Oil |  | Water Injection<br>Selective Catalytic Reduction
MT | Mill Creek Generating Station | 56908 | 3A | 2014 | 4889.2 | 73362.06 | 0.278 | 0.0145 | 6.907 | 54333.51 | 913964.299 | NorthWestern Energy | NAES Corporation | Combustion turbine | Pipeline Natural Gas | Diesel Oil |  | Water Injection<br>Selective Catalytic Reduction
MT | Mill Creek Generating Station | 56908 | 3A | 2015 | 4232.72 | 63156.47 | 0.232 | 0.0143 | 5.867 | 45945.711 | 773064.814 | NorthWestern Energy | NAES Corporation | Combustion turbine | Pipeline Natural Gas | Diesel Oil |  | Water Injection<br>Selective Catalytic Reduction
MT | Mill Creek Generating Station | 56908 | 3A | 2016 | 1041.65 | 14909.23 | 0.056 | 0.018 | 1.428 | 10990.357 | 184924.48 | NorthWestern Energy | NAES Corporation | Combustion turbine | Pipeline Natural Gas | Diesel Oil |  | Water Injection<br>Selective Catalytic Reduction
MT | Mill Creek Generating Station | 56908 | 3A | 2017 | 3486.27 | 48467.8 | 0.18 | 0.0142 | 4.086 | 35606.407 | 599177.657 | NorthWestern Energy | NAES Corporation | Combustion turbine | Pipeline Natural Gas | Diesel Oil |  | Water Injection<br>Selective Catalytic Reduction
MT | Mill Creek Generating Station | 56908 | 3B | 2014 | 5982.1 | 88758.75 | 0.365 | 0.0138 | 7.889 | 65899.835 | 1106463.033 | NorthWestern Energy | NAES Corporation | Combustion turbine | Pipeline Natural Gas | Diesel Oil |  | Water Injection<br>Selective Catalytic Reduction
MT | Mill Creek Generating Station | 56908 | 3B | 2015 | 7508.71 | 112016.35 | 0.41 | 0.0129 | 9.356 | 81110.326 | 1364852.173 | NorthWestern Energy | NAES Corporation | Combustion turbine | Pipeline Natural Gas | Diesel Oil |  | Water Injection<br>Selective Catalytic Reduction
MT | Mill Creek Generating Station | 56908 | 3B | 2016 | 1820.98 | 25378.58 | 0.097 | 0.0142 | 2.123 | 18845.308 | 316957.217 | NorthWestern Energy | NAES Corporation | Combustion turbine | Pipeline Natural Gas | Diesel Oil |  | Water Injection<br>Selective Catalytic Reduction
MT | Mill Creek Generating Station | 56908 | 3B | 2017 | 3447.59 | 49108.63 | 0.182 | 0.0134 | 4.018 | 36010.141 | 605902.799 | NorthWestern Energy | NAES Corporation | Combustion turbine | Pipeline Natural Gas | Diesel Oil |  | Water Injection<br>Selective Catalytic Reduction