## emission_11-30-2018_084648876
State | Facility Name | Facility ID (ORISPL) | Unit ID | Year | Operating Time | Gross Load (MW-h) | SO2 (tons) | Avg. NOx Rate (lb/MMBtu) | NOx (tons) | CO2 (short tons) | Heat Input (MMBtu) | Owner | Operator | Unit Type | Fuel Type (Primary) | Fuel Type (Secondary) | SO2 Control(s) | NOx Control(s)
NV | Apex Generating Station | 55514 | CTG01 | 2014 | 4071.96 | 853771.7 | 1.797 | 0.0204 | 38.633 | 355902.37 | 5988324.056 | Las Vegas Power Company, LLC | Las Vegas Power Company, LLC | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Apex Generating Station | 55514 | CTG01 | 2015 | 5785.75 | 1317679.73 | 2.728 | 0.0134 | 47.324 | 540437.762 | 9092481.167 | Las Vegas Power Company, LLC | Las Vegas Power Company, LLC | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Apex Generating Station | 55514 | CTG01 | 2016 | 7415.29 | 1690466.75 | 3.55 | 0.0139 | 63.353 | 703320.745 | 11832271.91 | Las Vegas Power Company, LLC | Las Vegas Power Company, LLC | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Apex Generating Station | 55514 | CTG01 | 2017 | 6935.87 | 1555867.15 | 3.277 | 0.0125 | 55.41 | 649188.434 | 10922232.187 | Las Vegas Power Company, LLC, Southern California Public Power Authority | Las Vegas Power Company, LLC, Los Angeles Department of Water and Power | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Apex Generating Station | 55514 | CTG02 | 2014 | 3888.24 | 807531.17 | 1.705 | 0.0207 | 37.134 | 337639.179 | 5681187.982 | Las Vegas Power Company, LLC | Las Vegas Power Company, LLC | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Apex Generating Station | 55514 | CTG02 | 2015 | 5884.4 | 1331744.55 | 2.762 | 0.0123 | 46.83 | 547235.211 | 9206908.627 | Las Vegas Power Company, LLC | Las Vegas Power Company, LLC | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Apex Generating Station | 55514 | CTG02 | 2016 | 7632.57 | 1737287.55 | 3.652 | 0.0115 | 61.186 | 723526.109 | 12171927.01 | Las Vegas Power Company, LLC | Las Vegas Power Company, LLC | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Apex Generating Station | 55514 | CTG02 | 2017 | 7033.2 | 1578507.41 | 3.319 | 0.0128 | 57.142 | 657557.64 | 11063274.69 | Las Vegas Power Company, LLC, Southern California Public Power Authority | Las Vegas Power Company, LLC, Los Angeles Department of Water and Power | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Chuck Lenzie Generating Station | 55322 | CTG-1 | 2014 | 8170.01 | 1707531.52 | 3.649 | 0.0105 | 59.633 | 722823.055 | 12162863.804 | NV Energy | NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Chuck Lenzie Generating Station | 55322 | CTG-1 | 2015 | 8155.67 | 1881907.02 | 4 | 0.0085 | 54.566 | 792266.043 | 13331368.479 | NV Energy | NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Chuck Lenzie Generating Station | 55322 | CTG-1 | 2016 | 8035.67 | 1753482.32 | 3.747 | 0.0101 | 60.135 | 742164.407 | 12488389.493 | NV Energy | NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Chuck Lenzie Generating Station | 55322 | CTG-1 | 2017 | 7882.1 | 1654246.78 | 3.564 | 0.0112 | 63.925 | 705992.818 | 11879701.689 | NV Energy | NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Chuck Lenzie Generating Station | 55322 | CTG-2 | 2014 | 7371.5 | 1542507.32 | 3.331 | 0.0128 | 58.006 | 659750.75 | 11101575.364 | NV Energy | NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Chuck Lenzie Generating Station | 55322 | CTG-2 | 2015 | 8176.39 | 1877231.27 | 4.037 | 0.0104 | 63.917 | 799643.456 | 13455657.344 | NV Energy | NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Chuck Lenzie Generating Station | 55322 | CTG-2 | 2016 | 7480.04 | 1640175.26 | 3.519 | 0.0114 | 59.725 | 697102.947 | 11730192.863 | NV Energy | NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Chuck Lenzie Generating Station | 55322 | CTG-2 | 2017 | 7881.73 | 1663549.02 | 3.584 | 0.0101 | 58.8 | 709857.585 | 11944736.622 | NV Energy | NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Chuck Lenzie Generating Station | 55322 | CTG-3 | 2014 | 7539.17 | 1543753.31 | 3.35 | 0.0099 | 49.079 | 663506.844 | 11164821.265 | NV Energy | NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Chuck Lenzie Generating Station | 55322 | CTG-3 | 2015 | 8353.47 | 1860036.46 | 3.989 | 0.0084 | 54.674 | 790145.87 | 13295759.655 | NV Energy | NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Chuck Lenzie Generating Station | 55322 | CTG-3 | 2016 | 7512.89 | 1577653.52 | 3.376 | 0.0112 | 56.763 | 668810.236 | 11254022.545 | NV Energy | NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Chuck Lenzie Generating Station | 55322 | CTG-3 | 2017 | 7727.53 | 1542704.19 | 3.329 | 0.0113 | 56.155 | 659452.761 | 11096494.935 | NV Energy | NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Chuck Lenzie Generating Station | 55322 | CTG-4 | 2014 | 7232.34 | 1477355.43 | 3.199 | 0.0127 | 55.474 | 633646.909 | 10662313.041 | NV Energy | NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Chuck Lenzie Generating Station | 55322 | CTG-4 | 2015 | 8344.66 | 1848378.44 | 3.977 | 0.01 | 62.675 | 787752.591 | 13255380.811 | NV Energy | NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Chuck Lenzie Generating Station | 55322 | CTG-4 | 2016 | 7494.36 | 1574993.64 | 3.387 | 0.0116 | 57.848 | 670841.821 | 11288239.861 | NV Energy | NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Chuck Lenzie Generating Station | 55322 | CTG-4 | 2017 | 8194.3 | 1626751.43 | 3.548 | 0.0103 | 59.004 | 702758.211 | 11825196.519 | NV Energy | NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Clark | 2322 | 11A | 2014 | 230.87 | 5279.29 | 0.017 | 0.0481 | 0.913 | 3413.326 | 57437.725 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 11A | 2015 | 499.41 | 11898.4 | 0.04 | 0.0481 | 2.037 | 7828.56 | 131717.427 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 11A | 2016 | 285.29 | 6584.55 | 0.021 | 0.0537 | 1.156 | 4255.345 | 71594.637 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 11A | 2017 | 454.07 | 10489.26 | 0.034 | 0.0709 | 1.667 | 6702.634 | 112793.108 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 11B | 2014 | 227 | 5034.36 | 0.016 | 0.0483 | 0.867 | 3256.558 | 54794.153 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 11B | 2015 | 499.78 | 12106.37 | 0.04 | 0.0478 | 2.086 | 7963.664 | 133946.09 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 11B | 2016 | 288.18 | 6892.24 | 0.022 | 0.0533 | 1.205 | 4451.861 | 74892.614 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 11B | 2017 | 458.45 | 10926.97 | 0.035 | 0.0691 | 1.731 | 7002.933 | 117814.433 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 12A | 2014 | 251.17 | 5849.26 | 0.019 | 0.0409 | 0.925 | 3720.688 | 62601.858 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 12A | 2015 | 404.31 | 9444.21 | 0.031 | 0.0353 | 1.308 | 6135.348 | 103228.949 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 12A | 2016 | 295.9 | 7183.31 | 0.024 | 0.0414 | 0.957 | 4772.351 | 80287.586 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 12A | 2017 | 730.03 | 17322.59 | 0.058 | 0.062 | 2.384 | 11480.1 | 193166.927 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 12B | 2014 | 247.21 | 5863.97 | 0.019 | 0.041 | 0.912 | 3719.795 | 62603.518 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 12B | 2015 | 408.46 | 9732.49 | 0.032 | 0.0356 | 1.363 | 6330.086 | 106509.507 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 12B | 2016 | 298.6 | 7181.29 | 0.024 | 0.0414 | 0.962 | 4762.498 | 80141.811 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 12B | 2017 | 742.66 | 17365.57 | 0.058 | 0.0611 | 2.486 | 11516.767 | 193794.595 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 13A | 2014 | 120.23 | 2692.07 | 0.009 | 0.0481 | 0.483 | 1741.505 | 29305.806 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 13A | 2015 | 318.44 | 7188.01 | 0.024 | 0.0368 | 1.06 | 4680.732 | 78757.015 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 13A | 2016 | 657.27 | 15750.99 | 0.051 | 0.0573 | 2.248 | 10053.789 | 169188.077 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 13A | 2017 | 577.16 | 13921.28 | 0.045 | 0.0487 | 1.714 | 8814.406 | 148332.898 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 13B | 2014 | 119.73 | 2706.59 | 0.009 | 0.0482 | 0.484 | 1755.566 | 29538.677 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 13B | 2015 | 319.6 | 7156.67 | 0.024 | 0.0372 | 1.064 | 4659.157 | 78403.157 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 13B | 2016 | 656.7 | 16181.19 | 0.052 | 0.0577 | 2.308 | 10339.709 | 173976.032 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 13B | 2017 | 579.08 | 14206.8 | 0.046 | 0.0501 | 1.781 | 9056.832 | 152390.802 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 14A | 2014 | 173.66 | 3999.57 | 0.013 | 0.0502 | 0.7 | 2564.268 | 43146.37 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 14A | 2015 | 443.24 | 10557.6 | 0.034 | 0.0449 | 1.616 | 6743.263 | 113468.615 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 14A | 2016 | 616.94 | 14847.64 | 0.048 | 0.0528 | 2.124 | 9460.263 | 159162.434 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 14A | 2017 | 904.41 | 22087.43 | 0.071 | 0.0493 | 2.862 | 14061.682 | 236618.352 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 14B | 2014 | 174.66 | 3819.75 | 0.012 | 0.0508 | 0.682 | 2444.597 | 41140.547 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 14B | 2015 | 442.92 | 10247.02 | 0.033 | 0.0445 | 1.566 | 6555.189 | 110290.859 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 14B | 2016 | 616.79 | 14394.64 | 0.046 | 0.0528 | 2.07 | 9177.844 | 154445.182 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 14B | 2017 | 908.32 | 21676.6 | 0.07 | 0.0496 | 2.819 | 13816.401 | 232468.003 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 15A | 2014 | 244.14 | 5806.21 | 0.019 | 0.0361 | 0.832 | 3724.941 | 62673.413 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 15A | 2015 | 495.06 | 12097.05 | 0.039 | 0.034 | 1.601 | 7742.772 | 130286.104 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 15A | 2016 | 352.8 | 8574.87 | 0.028 | 0.0398 | 1.131 | 5496.676 | 92478.802 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 15A | 2017 | 658.07 | 15896.84 | 0.052 | 0.0368 | 2.031 | 10237.494 | 172270.083 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 15B | 2014 | 247.98 | 5517.45 | 0.018 | 0.0362 | 0.809 | 3521.171 | 59250.209 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 15B | 2015 | 502.23 | 11957.55 | 0.039 | 0.0352 | 1.618 | 7664.032 | 128966.449 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 15B | 2016 | 358.16 | 8556.8 | 0.028 | 0.0394 | 1.143 | 5493.349 | 92450.857 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 15B | 2017 | 667.57 | 15960.79 | 0.052 | 0.0374 | 2.091 | 10277.289 | 172916.214 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 16A | 2014 | 123.14 | 2846.82 | 0.009 | 0.0452 | 0.493 | 1821.785 | 30648.939 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 16A | 2015 | 593.17 | 14463.69 | 0.047 | 0.0342 | 1.981 | 9217.088 | 155105.44 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 16A | 2016 | 600.07 | 14443.7 | 0.047 | 0.0363 | 1.918 | 9244.057 | 155538.116 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 16A | 2017 | 760.06 | 18297.07 | 0.059 | 0.0353 | 2.143 | 11696.909 | 196838.157 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 16B | 2014 | 124.94 | 2835.69 | 0.009 | 0.046 | 0.496 | 1817.605 | 30588.285 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 16B | 2015 | 585.71 | 14113.68 | 0.045 | 0.0347 | 1.9 | 8985.852 | 151209.883 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 16B | 2016 | 598.94 | 14253.18 | 0.046 | 0.0363 | 1.883 | 9101.362 | 153149.036 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 16B | 2017 | 748.49 | 17873.42 | 0.057 | 0.0353 | 2.008 | 11376.87 | 191444.931 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 17A | 2014 | 248.23 | 5734.03 | 0.019 | 0.0411 | 0.941 | 3697.195 | 62204.999 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 17A | 2015 | 536.16 | 12564.02 | 0.041 | 0.0358 | 1.716 | 8115.96 | 136555.382 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 17A | 2016 | 509.26 | 12262.25 | 0.04 | 0.0421 | 1.613 | 7841.225 | 131963.341 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 17A | 2017 | 557.41 | 13552.31 | 0.044 | 0.0505 | 1.768 | 8658.137 | 145689.097 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 17B | 2014 | 251.78 | 5808.85 | 0.019 | 0.0412 | 0.956 | 3729.808 | 62752.257 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 17B | 2015 | 526.96 | 12389.08 | 0.04 | 0.0357 | 1.665 | 8015.046 | 134862.321 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 17B | 2016 | 510.73 | 12310.82 | 0.04 | 0.0419 | 1.636 | 7896.735 | 132865.901 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 17B | 2017 | 551.38 | 13441.59 | 0.043 | 0.0511 | 1.733 | 8565.333 | 144142.198 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 18A | 2014 | 295.75 | 6726.97 | 0.022 | 0.0372 | 0.942 | 4321.805 | 72726.657 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 18A | 2015 | 607.55 | 14095.73 | 0.046 | 0.0357 | 1.925 | 9056.57 | 152398.289 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 18A | 2016 | 490.91 | 11644.97 | 0.038 | 0.0411 | 1.653 | 7538.883 | 126850.683 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 18A | 2017 | 820.14 | 19530.5 | 0.064 | 0.0382 | 2.417 | 12583.75 | 211749.018 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 18B | 2014 | 299.2 | 6566.68 | 0.021 | 0.0377 | 0.936 | 4216.945 | 70952.008 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 18B | 2015 | 601.62 | 13712.84 | 0.045 | 0.0362 | 1.862 | 8816.76 | 148370.089 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 18B | 2016 | 490.23 | 10994.33 | 0.036 | 0.0416 | 1.558 | 7119.591 | 119802.57 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 18B | 2017 | 812.03 | 18541.09 | 0.06 | 0.0383 | 2.256 | 11942.441 | 200961.622 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 19A | 2014 | 279.92 | 6237.34 | 0.02 | 0.0451 | 1.032 | 4038.338 | 67952.793 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 19A | 2015 | 545.17 | 12801.92 | 0.042 | 0.0405 | 1.782 | 8257.17 | 138952.117 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 19A | 2016 | 320.22 | 7452.73 | 0.024 | 0.054 | 1.15 | 4798.722 | 80745.905 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 19A | 2017 | 504.33 | 12110.5 | 0.039 | 0.0503 | 1.672 | 7745.888 | 130348.712 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 19B | 2014 | 274.79 | 6263.59 | 0.02 | 0.0442 | 1.01 | 4044.731 | 68059.982 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 19B | 2015 | 532.04 | 12701.32 | 0.041 | 0.0392 | 1.718 | 8169.22 | 137463.63 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 19B | 2016 | 320.17 | 7360.29 | 0.024 | 0.0532 | 1.127 | 4741.604 | 79794.979 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 19B | 2017 | 507.79 | 11863.16 | 0.038 | 0.0507 | 1.662 | 7595.7 | 127827.118 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 20A | 2014 | 317.43 | 7323.08 | 0.024 | 0.0435 | 1.188 | 4682.702 | 78794.308 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 20A | 2015 | 727.92 | 17334.57 | 0.056 | 0.0351 | 2.304 | 11085.061 | 186534.841 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 20A | 2016 | 584.75 | 13738.15 | 0.044 | 0.0519 | 2.305 | 8796.77 | 148014.933 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 20A | 2017 | 613.91 | 14571.21 | 0.047 | 0.0534 | 2.3 | 9263.018 | 155853.508 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 20B | 2014 | 320.37 | 7274.67 | 0.024 | 0.0434 | 1.194 | 4671.264 | 78597.331 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 20B | 2015 | 718.03 | 17141.53 | 0.055 | 0.0353 | 2.237 | 10966.361 | 184513.087 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 20B | 2016 | 583.8 | 13849.88 | 0.045 | 0.0525 | 2.291 | 8839.344 | 148722.945 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 20B | 2017 | 614.69 | 14540.25 | 0.047 | 0.0534 | 2.294 | 9259.547 | 155816.007 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 21A | 2014 | 310.94 | 7512.3 | 0.024 | 0.0448 | 1.222 | 4792.716 | 80644.062 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 21A | 2015 | 602.71 | 14694.31 | 0.048 | 0.0424 | 2.161 | 9413.207 | 158383.313 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 21A | 2016 | 467.64 | 11005.08 | 0.036 | 0.05 | 1.659 | 7054.709 | 118697.879 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 21A | 2017 | 536.87 | 12958.76 | 0.042 | 0.0484 | 1.679 | 8255.424 | 138899.2 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 21B | 2014 | 310.42 | 7448.69 | 0.024 | 0.0447 | 1.207 | 4748.589 | 79905.876 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 21B | 2015 | 600.84 | 14625.18 | 0.047 | 0.0412 | 2.129 | 9376.367 | 157776.263 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 21B | 2016 | 461.84 | 11187.8 | 0.036 | 0.0481 | 1.657 | 7174.519 | 120718.626 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 21B | 2017 | 530.86 | 12849.99 | 0.041 | 0.048 | 1.635 | 8172.487 | 137520.357 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 22A | 2014 | 224.21 | 5356.1 | 0.017 | 0.042 | 0.831 | 3401.193 | 57224.11 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 22A | 2015 | 529.17 | 12671.5 | 0.041 | 0.0452 | 2.028 | 8118.783 | 136620.989 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 22A | 2016 | 391.71 | 9421.98 | 0.03 | 0.0545 | 1.373 | 5969.473 | 100457.851 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 22A | 2017 | 509.91 | 12341.92 | 0.039 | 0.0513 | 1.774 | 7800.681 | 131274.274 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 22B | 2014 | 226.77 | 5287.47 | 0.017 | 0.042 | 0.838 | 3354.876 | 56441.715 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 22B | 2015 | 515.03 | 12180.73 | 0.039 | 0.0442 | 1.892 | 7787.246 | 131035.434 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 22B | 2016 | 392.09 | 9195.44 | 0.029 | 0.0557 | 1.361 | 5824.658 | 98001.387 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Clark | 2322 | 22B | 2017 | 507.71 | 12000.4 | 0.038 | 0.0514 | 1.719 | 7566.121 | 127302.235 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas
NV | Desert Star Energy Center | 55077 | EDE1 | 2014 | 3696.02 | 795573.36 | 1.688 | 0.012 | 32.752 | 334391.821 | 5626793.273 | San Diego Gas and Electric Company | San Diego Gas and Electric Company | Combined cycle | Pipeline Natural Gas |  |  | Selective Catalytic Reduction
NV | Desert Star Energy Center | 55077 | EDE1 | 2015 | 5412.94 | 1151050.27 | 2.458 | 0.0116 | 46.454 | 486800.733 | 8191359.405 | San Diego Gas and Electric Company | San Diego Gas and Electric Company | Combined cycle | Pipeline Natural Gas |  |  | Selective Catalytic Reduction
NV | Desert Star Energy Center | 55077 | EDE1 | 2016 | 2951.08 | 571189.81 | 1.277 | 0.0137 | 26.271 | 253017.378 | 4257535.7 | San Diego Gas and Electric Company | San Diego Gas and Electric Company | Combined cycle | Pipeline Natural Gas |  |  | Selective Catalytic Reduction
NV | Desert Star Energy Center | 55077 | EDE1 | 2017 | 2687.36 | 497802.35 | 1.127 | 0.0144 | 24.226 | 223168.035 | 3755200.558 | San Diego Gas and Electric Company | San Diego Gas and Electric Company | Combined cycle | Pipeline Natural Gas |  |  | Selective Catalytic Reduction
NV | Desert Star Energy Center | 55077 | EDE2 | 2014 | 3560.09 | 777093.87 | 1.649 | 0.0119 | 31.727 | 326661.312 | 5496715.083 | San Diego Gas and Electric Company | San Diego Gas and Electric Company | Combined cycle | Pipeline Natural Gas |  |  | Selective Catalytic Reduction
NV | Desert Star Energy Center | 55077 | EDE2 | 2015 | 5056.31 | 1084046.75 | 2.412 | 0.0118 | 46.459 | 477754.805 | 8039101.541 | San Diego Gas and Electric Company | San Diego Gas and Electric Company | Combined cycle | Pipeline Natural Gas |  |  | Selective Catalytic Reduction
NV | Desert Star Energy Center | 55077 | EDE2 | 2016 | 3462.26 | 677508.16 | 1.549 | 0.0142 | 33.398 | 306923.477 | 5164575.307 | San Diego Gas and Electric Company | San Diego Gas and Electric Company | Combined cycle | Pipeline Natural Gas |  |  | Selective Catalytic Reduction
NV | Desert Star Energy Center | 55077 | EDE2 | 2017 | 3211.7 | 582790.39 | 1.348 | 0.0151 | 30.21 | 267095.747 | 4494454.368 | San Diego Gas and Electric Company | San Diego Gas and Electric Company | Combined cycle | Pipeline Natural Gas |  |  | Selective Catalytic Reduction
NV | Fort Churchill | 2330 | 1 | 2014 | 2498.36 | 110433.58 | 0.365 | 0.1878 | 142.85 | 72307.65 | 1216720.325 | Sierra Pacific Power Company | Sierra Pacific Power Company | Dry bottom wall-fired boiler | Pipeline Natural Gas | Residual Oil |  | Low NOx Burner Technology w/ Overfire Air (Began Apr 01, 2014)
NV | Fort Churchill | 2330 | 1 | 2015 | 3515.33 | 181079.03 | 0.604 | 0.1271 | 130.717 | 119692.244 | 2014048.771 | Sierra Pacific Power Company | Sierra Pacific Power Company | Dry bottom wall-fired boiler | Pipeline Natural Gas |  |  | Low NOx Burner Technology w/ Overfire Air
NV | Fort Churchill | 2330 | 1 | 2016 | 3372.99 | 150649.69 | 0.516 | 0.126 | 107.945 | 102243.178 | 1720432.794 | Sierra Pacific Power Company | Sierra Pacific Power Company | Dry bottom wall-fired boiler | Pipeline Natural Gas |  |  | Low NOx Burner Technology w/ Overfire Air
NV | Fort Churchill | 2330 | 1 | 2017 | 5267.5 | 227804.62 | 0.778 | 0.1343 | 168.511 | 154010.386 | 2591480.254 | Sierra Pacific Power Company | Sierra Pacific Power Company | Dry bottom wall-fired boiler | Pipeline Natural Gas |  |  | Low NOx Burner Technology w/ Overfire Air
NV | Fort Churchill | 2330 | 2 | 2014 | 1727.37 | 78933.04 | 0.256 | 0.1404 | 68.259 | 50711.484 | 853290.178 | Sierra Pacific Power Company | Sierra Pacific Power Company | Dry bottom wall-fired boiler | Pipeline Natural Gas | Residual Oil
NV | Fort Churchill | 2330 | 2 | 2015 | 2754.56 | 145230.49 | 0.47 | 0.1124 | 92.244 | 93180.332 | 1567911.734 | Sierra Pacific Power Company | Sierra Pacific Power Company | Dry bottom wall-fired boiler | Pipeline Natural Gas
NV | Fort Churchill | 2330 | 2 | 2016 | 2928.76 | 137437.42 | 0.451 | 0.1178 | 89.978 | 89312.456 | 1502858.673 | Sierra Pacific Power Company | Sierra Pacific Power Company | Dry bottom wall-fired boiler | Pipeline Natural Gas
NV | Fort Churchill | 2330 | 2 | 2017 | 4176.43 | 174520.99 | 0.583 | 0.1255 | 120.579 | 115564.201 | 1944500.416 | Sierra Pacific Power Company | Sierra Pacific Power Company | Dry bottom wall-fired boiler | Pipeline Natural Gas
NV | Harry Allen | 7082 | **3 | 2014 | 138.15 | 8692.54 | 0.03 | 0.043 | 1.517 | 6030.767 | 101477.852 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Water Injection
NV | Harry Allen | 7082 | **3 | 2015 | 404.93 | 26222.8 | 0.092 | 0.0361 | 4.293 | 18270.526 | 307435.865 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Water Injection
NV | Harry Allen | 7082 | **3 | 2016 | 206.21 | 12832.95 | 0.047 | 0.0402 | 2.328 | 9245.972 | 155581.441 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Water Injection
NV | Harry Allen | 7082 | **3 | 2017 | 590.33 | 35527.49 | 0.13 | 0.0387 | 6.136 | 25817.081 | 434412.57 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Water Injection
NV | Harry Allen | 7082 | **4 | 2014 | 172.09 | 11414.58 | 0.038 | 0.0356 | 1.507 | 7543.255 | 126926.194 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas |  |  | Dry Low NOx Burners
NV | Harry Allen | 7082 | **4 | 2015 | 355.95 | 23335.49 | 0.078 | 0.0283 | 2.571 | 15484.827 | 260559.584 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas |  |  | Dry Low NOx Burners
NV | Harry Allen | 7082 | **4 | 2016 | 297.37 | 18929.9 | 0.066 | 0.0342 | 2.387 | 13039.936 | 219423.054 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas |  |  | Dry Low NOx Burners
NV | Harry Allen | 7082 | **4 | 2017 | 677.79 | 43527.07 | 0.15 | 0.0318 | 5.333 | 29738.521 | 500386.853 | NV Energy | NV Energy | Combustion turbine | Pipeline Natural Gas |  |  | Dry Low NOx Burners
NV | Harry Allen | 7082 | **5 | 2014 | 7987.64 | 1623497.96 | 3.391 | 0.0066 | 34.673 | 671674.417 | 11302264.338 | NV Energy | NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Harry Allen | 7082 | **5 | 2015 | 8749.94 | 1929982.49 | 3.964 | 0.0061 | 39.779 | 785107.744 | 13210997.842 | NV Energy | NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Harry Allen | 7082 | **5 | 2016 | 8316.67 | 1796456.64 | 3.718 | 0.0064 | 36.398 | 736434.428 | 12391933.974 | NV Energy | NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Harry Allen | 7082 | **5 | 2017 | 7721.69 | 1648929.95 | 3.427 | 0.0064 | 32.661 | 678923.517 | 11424197.661 | NV Energy | NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Harry Allen | 7082 | **6 | 2014 | 7844.29 | 1600527.1 | 3.352 | 0.0065 | 33.842 | 663998.677 | 11173052.353 | NV Energy | NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Harry Allen | 7082 | **6 | 2015 | 8739.48 | 1935195.35 | 4 | 0.0061 | 40.246 | 792381.131 | 13333290.824 | NV Energy | NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Harry Allen | 7082 | **6 | 2016 | 8408.52 | 1820767.91 | 3.797 | 0.0064 | 38.727 | 752155.767 | 12656468.528 | NV Energy | NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Harry Allen | 7082 | **6 | 2017 | 7880.24 | 1686720.35 | 3.539 | 0.0069 | 36.613 | 700944.509 | 11794857.62 | NV Energy | NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Las Vegas Generating Station | 10761 | 1 | 2014 | 1.96 | 4 | 0 | 0.1537 | 0.023 | 10.641 | 179.724 | Southwest Generation Operating Co. | Southwest Generation Operating Co. | Combined cycle | Pipeline Natural Gas |  |  | Selective Catalytic Reduction
NV | Las Vegas Generating Station | 10761 | 1 | 2015 | 1037.19 | 35286.76 | 0.111 | 0.0361 | 4.067 | 21964.704 | 369608.178 | Nevada Power Company dba NV Energy, Southwest Generation Operating Co. | Nevada Power Company dba NV Energy, Southwest Generation Operating Co. | Combined cycle | Pipeline Natural Gas |  |  | Selective Catalytic Reduction
NV | Las Vegas Generating Station | 10761 | 1 | 2016 | 649.88 | 22045.77 | 0.07 | 0.0389 | 2.703 | 13930.921 | 234412.199 | Nevada Power Company dba NV Energy | Nevada Power Company dba NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Selective Catalytic Reduction
NV | Las Vegas Generating Station | 10761 | 1 | 2017 | 1557.96 | 54478.75 | 0.172 | 0.0308 | 5.356 | 34045.35 | 572894.954 | Nevada Power Company dba NV Energy | Nevada Power Company dba NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Selective Catalytic Reduction
NV | Las Vegas Generating Station | 10761 | 2 | 2014 | 1318.96 | 40393.22 | 0.113 | 0.0186 | 1.629 | 22295.465 | 375176.773 | Southwest Generation Operating Co. | Southwest Generation Operating Co. | Combined cycle | Pipeline Natural Gas |  |  | Selective Catalytic Reduction
NV | Las Vegas Generating Station | 10761 | 2 | 2015 | 2625.36 | 83388.5 | 0.262 | 0.0198 | 4.018 | 51813.065 | 871859.05 | Nevada Power Company dba NV Energy, Southwest Generation Operating Co. | Nevada Power Company dba NV Energy, Southwest Generation Operating Co. | Combined cycle | Pipeline Natural Gas |  |  | Selective Catalytic Reduction
NV | Las Vegas Generating Station | 10761 | 2 | 2016 | 2573.41 | 75555.77 | 0.241 | 0.0265 | 4.564 | 47691.193 | 802469.061 | Nevada Power Company dba NV Energy | Nevada Power Company dba NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Selective Catalytic Reduction
NV | Las Vegas Generating Station | 10761 | 2 | 2017 | 1785.9 | 43407.02 | 0.142 | 0.0167 | 2.17 | 28039.682 | 471815.341 | Nevada Power Company dba NV Energy | Nevada Power Company dba NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Selective Catalytic Reduction
NV | Las Vegas Generating Station | 10761 | 3 | 2014 | 1321.71 | 40595.76 | 0.114 | 0.0168 | 1.674 | 22619.101 | 380601.727 | Southwest Generation Operating Co. | Southwest Generation Operating Co. | Combined cycle | Pipeline Natural Gas |  |  | Selective Catalytic Reduction
NV | Las Vegas Generating Station | 10761 | 3 | 2015 | 2537.48 | 80071.08 | 0.252 | 0.0173 | 3.729 | 49818.862 | 838290.95 | Nevada Power Company dba NV Energy, Southwest Generation Operating Co. | Nevada Power Company dba NV Energy, Southwest Generation Operating Co. | Combined cycle | Pipeline Natural Gas |  |  | Selective Catalytic Reduction
NV | Las Vegas Generating Station | 10761 | 3 | 2016 | 2436.01 | 67148.77 | 0.219 | 0.0177 | 3.613 | 43385.041 | 730007.103 | Nevada Power Company dba NV Energy | Nevada Power Company dba NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Selective Catalytic Reduction
NV | Las Vegas Generating Station | 10761 | 3 | 2017 | 2419.42 | 61909.82 | 0.203 | 0.0135 | 2.776 | 40176.595 | 676011.859 | Nevada Power Company dba NV Energy | Nevada Power Company dba NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Selective Catalytic Reduction
NV | Las Vegas Generating Station | 10761 | 4 | 2014 | 1324.21 | 40411.71 | 0.115 | 0.0165 | 1.727 | 22851.05 | 384533.301 | Southwest Generation Operating Co. | Southwest Generation Operating Co. | Combined cycle | Pipeline Natural Gas |  |  | Selective Catalytic Reduction
NV | Las Vegas Generating Station | 10761 | 4 | 2015 | 2677.58 | 85554.91 | 0.271 | 0.0159 | 3.85 | 53750.011 | 904419.104 | Nevada Power Company dba NV Energy, Southwest Generation Operating Co. | Nevada Power Company dba NV Energy, Southwest Generation Operating Co. | Combined cycle | Pipeline Natural Gas |  |  | Selective Catalytic Reduction
NV | Las Vegas Generating Station | 10761 | 4 | 2016 | 2257.69 | 67316.05 | 0.219 | 0.016 | 3.438 | 43352.888 | 729495.111 | Nevada Power Company dba NV Energy | Nevada Power Company dba NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Selective Catalytic Reduction
NV | Las Vegas Generating Station | 10761 | 4 | 2017 | 2354.58 | 59622.32 | 0.193 | 0.0141 | 2.79 | 38315.955 | 644732.115 | Nevada Power Company dba NV Energy | Nevada Power Company dba NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Selective Catalytic Reduction
NV | Las Vegas Generating Station | 10761 | 5 | 2014 | 1305.22 | 40190.41 | 0.109 | 0.0172 | 1.662 | 21620.763 | 363810.102 | Southwest Generation Operating Co. | Southwest Generation Operating Co. | Combined cycle | Pipeline Natural Gas |  |  | Selective Catalytic Reduction
NV | Las Vegas Generating Station | 10761 | 5 | 2015 | 2548.89 | 80431.57 | 0.242 | 0.0169 | 3.52 | 47915.25 | 806243.338 | Nevada Power Company dba NV Energy, Southwest Generation Operating Co. | Nevada Power Company dba NV Energy, Southwest Generation Operating Co. | Combined cycle | Pipeline Natural Gas |  |  | Selective Catalytic Reduction
NV | Las Vegas Generating Station | 10761 | 5 | 2016 | 2316.39 | 69458.52 | 0.214 | 0.0166 | 3.399 | 42394.473 | 713373.511 | Nevada Power Company dba NV Energy | Nevada Power Company dba NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Selective Catalytic Reduction
NV | Las Vegas Generating Station | 10761 | 5 | 2017 | 2406.9 | 60810.24 | 0.194 | 0.015 | 2.945 | 38433.459 | 646719.324 | Nevada Power Company dba NV Energy | Nevada Power Company dba NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Selective Catalytic Reduction
NV | North Valmy | 8224 | 1 | 2014 | 7739.59 | 1662292.51 | 6363.464 | 0.2878 | 2243.468 | 1600172.669 | 15257271.807 | Idaho Power Company, Sierra Pacific Power Company | Sierra Pacific Power Company | Dry bottom wall-fired boiler | Coal |  |  | Low NOx Burner Technology (Dry Bottom only)
NV | North Valmy | 8224 | 1 | 2015 | 7662.21 | 1256559.67 | 4469.762 | 0.2932 | 1688.366 | 1211930.025 | 11555381.734 | Idaho Power Company, Sierra Pacific Power Company | Sierra Pacific Power Company | Dry bottom wall-fired boiler | Coal |  |  | Low NOx Burner Technology (Dry Bottom only)
NV | North Valmy | 8224 | 1 | 2016 | 3433.09 | 557936.6 | 1847.863 | 0.3205 | 797.001 | 513083.711 | 4892103.712 | Idaho Power Company, Sierra Pacific Power Company | Sierra Pacific Power Company | Dry bottom wall-fired boiler | Coal |  |  | Low NOx Burner Technology (Dry Bottom only)
NV | North Valmy | 8224 | 1 | 2017 | 2326.96 | 353877.45 | 1232.41 | 0.3654 | 587.204 | 341292.091 | 3254124.459 | Idaho Power Company, Sierra Pacific Power Company | Sierra Pacific Power Company | Dry bottom wall-fired boiler | Coal |  |  | Low NOx Burner Technology (Dry Bottom only)
NV | North Valmy | 8224 | 2 | 2014 | 6372.23 | 1340467.9 | 1453.987 | 0.3261 | 2228.951 | 1376276.084 | 13122425.365 | Idaho Power Company, Sierra Pacific Power Company | Sierra Pacific Power Company | Dry bottom wall-fired boiler | Coal |  | Dry Lime FGD | Low NOx Burner Technology (Dry Bottom only)
NV | North Valmy | 8224 | 2 | 2015 | 2115.68 | 328736.98 | 412.731 | 0.2942 | 579.78 | 376074.547 | 3585787.506 | Idaho Power Company, Sierra Pacific Power Company | Sierra Pacific Power Company | Dry bottom wall-fired boiler | Coal |  | Dry Lime FGD | Low NOx Burner Technology (Dry Bottom only)
NV | North Valmy | 8224 | 2 | 2016 | 3134.21 | 535464.69 | 431.343 | 0.2909 | 838.623 | 575185.963 | 5484226.609 | Idaho Power Company, Sierra Pacific Power Company | Sierra Pacific Power Company | Dry bottom wall-fired boiler | Coal |  | Dry Lime FGD | Low NOx Burner Technology (Dry Bottom only)
NV | North Valmy | 8224 | 2 | 2017 | 2441.08 | 403651.71 | 355.526 | 0.2972 | 674.479 | 439961.6 | 4194914.912 | Idaho Power Company, Sierra Pacific Power Company | Sierra Pacific Power Company | Dry bottom wall-fired boiler | Coal |  | Dry Lime FGD | Low NOx Burner Technology (Dry Bottom only)
NV | Reid Gardner | 2324 | 1 | 2014 | 6937.77 | 639070.3 | 1502.432 | 0.3713 | 1319.759 | 727266.477 | 6934291.23 | NV Energy | NV Energy | Dry bottom wall-fired boiler | Coal |  | Sodium Based | Low NOx Burner Technology (Dry Bottom only)
NV | Reid Gardner | 2324 | 2 | 2014 | 6446.68 | 582067.89 | 265.734 | 0.2767 | 840.884 | 648112.018 | 6179594.898 | NV Energy | NV Energy | Dry bottom wall-fired boiler | Coal |  | Sodium Based | Low NOx Burner Technology (Dry Bottom only)
NV | Reid Gardner | 2324 | 3 | 2014 | 4625.03 | 421852.97 | 252.375 | 0.2691 | 578.877 | 459477.399 | 4381003.094 | NV Energy | NV Energy | Dry bottom wall-fired boiler | Coal |  | Sodium Based | Low NOx Burner Technology (Dry Bottom only)
NV | Reid Gardner | 2324 | 4 | 2014 | 5190.27 | 1041721.96 | 487.721 | 0.1768 | 933.338 | 1108731.995 | 10571433.179 | NV Energy | NV Energy | Dry bottom wall-fired boiler | Coal |  | Sodium Based | Low NOx Burner Technology w/ Overfire Air
NV | Reid Gardner | 2324 | 4 | 2015 | 2726.74 | 479358.61 | 287.038 | 0.198 | 524.228 | 553241.002 | 5274973.121 | NV Energy | NV Energy | Dry bottom wall-fired boiler | Coal |  | Sodium Based | Low NOx Burner Technology w/ Overfire Air
NV | Reid Gardner | 2324 | 4 | 2016 | 2276.75 | 382880.3 | 231.558 | 0.1946 | 423.235 | 453182.661 | 4320964.545 | NV Energy | NV Energy | Dry bottom wall-fired boiler | Coal |  | Sodium Based | Low NOx Burner Technology w/ Overfire Air
NV | Reid Gardner | 2324 | 4 | 2017 | 1631.87 | 292771.71 | 167.637 | 0.2203 | 389.376 | 382487.192 | 3646924.079 | NV Energy | NV Energy | Dry bottom wall-fired boiler | Coal |  | Sodium Based | Low NOx Burner Technology w/ Overfire Air
NV | Silverhawk | 55841 | A01 | 2014 | 3025.2 | 540475.9 | 1.251 | 0.0248 | 29.434 | 247837.286 | 4170307.752 | NV Energy, Southern Nevada Water Authority | NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Silverhawk | 55841 | A01 | 2015 | 6361.22 | 1302859.4 | 2.868 | 0.0123 | 44.487 | 568098.519 | 9559397.614 | NV Energy, Southern Nevada Water Authority | NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Silverhawk | 55841 | A01 | 2016 | 6401.64 | 1278968.34 | 2.821 | 0.0137 | 45.147 | 558815.539 | 9403087.021 | NV Energy, Southern Nevada Water Authority | NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Silverhawk | 55841 | A01 | 2017 | 5718.25 | 1122772.85 | 2.522 | 0.0131 | 40.535 | 499663.062 | 8407786.673 | NV Energy, Southern Nevada Water Authority | NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Silverhawk | 55841 | A03 | 2014 | 3044.94 | 541204.26 | 1.272 | 0.0228 | 28.64 | 251974.928 | 4239988.522 | NV Energy, Southern Nevada Water Authority | NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Silverhawk | 55841 | A03 | 2015 | 6466.83 | 1340226.84 | 2.948 | 0.011 | 42.247 | 583945.392 | 9825982.772 | NV Energy, Southern Nevada Water Authority | NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Silverhawk | 55841 | A03 | 2016 | 7555.09 | 1498522.28 | 3.334 | 0.0118 | 50.075 | 660440.872 | 11113147.581 | NV Energy, Southern Nevada Water Authority | NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Silverhawk | 55841 | A03 | 2017 | 6022.84 | 1173567.12 | 2.662 | 0.0126 | 41.261 | 527238.306 | 8871732.766 | NV Energy, Southern Nevada Water Authority | NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Sun Peak Generating Station | 54854 | 3 | 2015 | 77.53 | 5137.78 | 0.018 | 0.1318 | 4.593 | 3875.051 | 65202.023 | Nevada Power Company dba NV Energy | Nevada Power Company dba NV Energy | Combustion turbine | Pipeline Natural Gas | Diesel Oil |  | Water Injection
NV | Sun Peak Generating Station | 54854 | 3 | 2016 | 142.94 | 9290.89 | 0.033 | 0.131 | 8.162 | 6947.977 | 116910.517 | Nevada Power Company dba NV Energy | Nevada Power Company dba NV Energy | Combustion turbine | Pipeline Natural Gas | Diesel Oil |  | Water Injection
NV | Sun Peak Generating Station | 54854 | 3 | 2017 | 136.93 | 8564.03 | 0.031 | 0.1242 | 7.441 | 6469.674 | 108863.547 | Nevada Power Company dba NV Energy | Nevada Power Company dba NV Energy | Combustion turbine | Pipeline Natural Gas | Diesel Oil |  | Water Injection
NV | Sun Peak Generating Station | 54854 | 4 | 2015 | 53.82 | 3497.29 | 0.013 | 0.1303 | 3.132 | 2671.085 | 44944.781 | Nevada Power Company dba NV Energy | Nevada Power Company dba NV Energy | Combustion turbine | Pipeline Natural Gas | Diesel Oil |  | Water Injection
NV | Sun Peak Generating Station | 54854 | 4 | 2016 | 112.66 | 7424.74 | 0.027 | 0.1333 | 6.642 | 5609.906 | 94395.151 | Nevada Power Company dba NV Energy | Nevada Power Company dba NV Energy | Combustion turbine | Pipeline Natural Gas | Diesel Oil |  | Water Injection
NV | Sun Peak Generating Station | 54854 | 4 | 2017 | 99.55 | 6372.66 | 0.023 | 0.1356 | 5.725 | 4830.373 | 81288.006 | Nevada Power Company dba NV Energy | Nevada Power Company dba NV Energy | Combustion turbine | Pipeline Natural Gas | Diesel Oil |  | Water Injection
NV | Sun Peak Generating Station | 54854 | 5 | 2015 | 62.22 | 4062.69 | 0.015 | 0.1328 | 3.608 | 3068.108 | 51631.447 | Nevada Power Company dba NV Energy | Nevada Power Company dba NV Energy | Combustion turbine | Pipeline Natural Gas | Diesel Oil |  | Water Injection
NV | Sun Peak Generating Station | 54854 | 5 | 2016 | 70.95 | 4314.67 | 0.016 | 0.1324 | 3.874 | 3265.299 | 54943.694 | Nevada Power Company dba NV Energy | Nevada Power Company dba NV Energy | Combustion turbine | Pipeline Natural Gas | Diesel Oil |  | Water Injection
NV | Sun Peak Generating Station | 54854 | 5 | 2017 | 79.99 | 5083.33 | 0.018 | 0.1312 | 4.489 | 3813.275 | 64168.734 | Nevada Power Company dba NV Energy | Nevada Power Company dba NV Energy | Combustion turbine | Pipeline Natural Gas | Diesel Oil |  | Water Injection
NV | Tracy | 2336 | 1 | 2014 | 0 | [6 empty] | Sierra Pacific Power Company | Sierra Pacific Power Company | Dry bottom wall-fired boiler | Residual Oil | Pipeline Natural Gas
NV | Tracy | 2336 | 2 | 2014 | 0 | [6 empty] | Sierra Pacific Power Company | Sierra Pacific Power Company | Dry bottom wall-fired boiler | Pipeline Natural Gas | Residual Oil
NV | Tracy | 2336 | 3 | 2014 | 3108.47 | 122310.62 | 0.416 | 0.2731 | 204.622 | 82399.779 | 1386513.289 | Sierra Pacific Power Company | Sierra Pacific Power Company | Dry bottom wall-fired boiler | Pipeline Natural Gas | Residual Oil
NV | Tracy | 2336 | 3 | 2015 | 1697.35 | 85141.64 | 0.28 | 0.14 | 67.399 | 55433.237 | 932733.07 | Sierra Pacific Power Company | Sierra Pacific Power Company | Dry bottom wall-fired boiler | Pipeline Natural Gas
NV | Tracy | 2336 | 3 | 2016 | 2094.41 | 98024.9 | 0.332 | 0.1374 | 77.188 | 65670.838 | 1105014.874 | Sierra Pacific Power Company | Sierra Pacific Power Company | Dry bottom wall-fired boiler | Pipeline Natural Gas
NV | Tracy | 2336 | 3 | 2017 | 1534.79 | 76955.24 | 0.272 | 0.133 | 60.802 | 53789.766 | 905089.704 | Sierra Pacific Power Company | Sierra Pacific Power Company | Dry bottom wall-fired boiler | Pipeline Natural Gas
NV | Tracy | 2336 | 4 | 2014 | 197.71 | 7621.29 | 0.032 | 0.046 | 1.723 | 6340.522 | 106688.041 | Sierra Pacific Power Company | Sierra Pacific Power Company | Combustion turbine | Pipeline Natural Gas | Diesel Oil
NV | Tracy | 2336 | 4 | 2015 | 466.75 | 19135.73 | 0.08 | 0.0385 | 4.047 | 15880.556 | 267225.155 | Sierra Pacific Power Company | Sierra Pacific Power Company | Combustion turbine | Pipeline Natural Gas | Diesel Oil
NV | Tracy | 2336 | 4 | 2016 | 578.38 | 30352.99 | 0.116 | 0.0421 | 5.667 | 22920.917 | 385679.229 | Sierra Pacific Power Company | Sierra Pacific Power Company | Combustion turbine | Pipeline Natural Gas | Diesel Oil
NV | Tracy | 2336 | 4 | 2017 | 953.83 | 49070.96 | 0.188 | 0.0397 | 8.756 | 37261.39 | 626984.118 | Sierra Pacific Power Company | Sierra Pacific Power Company | Combustion turbine | Pipeline Natural Gas | Diesel Oil
NV | Tracy | 2336 | 5 | 2014 | 231.79 | 9104.03 | 0.038 | 0.0537 | 2.368 | 7535.535 | 126792.083 | Sierra Pacific Power Company | Sierra Pacific Power Company | Combustion turbine | Pipeline Natural Gas | Diesel Oil
NV | Tracy | 2336 | 5 | 2015 | 614.38 | 26009.08 | 0.109 | 0.0368 | 5.083 | 21543.178 | 362512.127 | Sierra Pacific Power Company | Sierra Pacific Power Company | Combustion turbine | Pipeline Natural Gas | Diesel Oil
NV | Tracy | 2336 | 5 | 2016 | 413.4 | 22298.84 | 0.085 | 0.0431 | 4.092 | 16903.417 | 284416.832 | Sierra Pacific Power Company | Sierra Pacific Power Company | Combustion turbine | Pipeline Natural Gas | Diesel Oil
NV | Tracy | 2336 | 5 | 2017 | 784.97 | 40580.17 | 0.15 | 0.0447 | 7.606 | 29799.957 | 501445.31 | Sierra Pacific Power Company | Sierra Pacific Power Company | Combustion turbine | Pipeline Natural Gas | Diesel Oil
NV | Tracy | 2336 | 6 | 2014 | 5152.2 | 321595.85 | 0.841 | 0.1592 | 224.064 | 166575.548 | 2803020.539 | Sierra Pacific Power Company | Sierra Pacific Power Company | Combined cycle | Pipeline Natural Gas |  |  | Other
NV | Tracy | 2336 | 6 | 2015 | 4400.77 | 278183.74 | 0.722 | 0.1506 | 180.777 | 142997.042 | 2406413.442 | Sierra Pacific Power Company | Sierra Pacific Power Company | Combined cycle | Pipeline Natural Gas |  |  | Other
NV | Tracy | 2336 | 6 | 2016 | 4418.39 | 296685.51 | 0.759 | 0.1515 | 189.189 | 150400.851 | 2530748.243 | Sierra Pacific Power Company | Sierra Pacific Power Company | Combined cycle | Pipeline Natural Gas |  |  | Other
NV | Tracy | 2336 | 6 | 2017 | 4158.62 | 288533.7 | 0.739 | 0.1497 | 183.088 | 146440.969 | 2464121.377 | Sierra Pacific Power Company | Sierra Pacific Power Company | Combined cycle | Pipeline Natural Gas |  |  | Other
NV | Tracy | 2336 | 8 | 2014 | 8588.67 | 1819475.4 | 3.953 | 0.0062 | 39.932 | 782961.711 | 13174837.159 | Sierra Pacific Power Company | Sierra Pacific Power Company | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Tracy | 2336 | 8 | 2015 | 7431.89 | 1676404.41 | 3.632 | 0.0068 | 37.735 | 719394.423 | 12105212.119 | Sierra Pacific Power Company | Sierra Pacific Power Company | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Tracy | 2336 | 8 | 2016 | 8397.22 | 1874163.49 | 4.104 | 0.0061 | 39.452 | 812929.167 | 13679040.97 | Sierra Pacific Power Company | Sierra Pacific Power Company | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Tracy | 2336 | 8 | 2017 | 8451.32 | 1767491.84 | 3.893 | 0.0057 | 35.939 | 771189.437 | 12976727.477 | Sierra Pacific Power Company | Sierra Pacific Power Company | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Tracy | 2336 | 9 | 2014 | 8576.99 | 1812134.57 | 3.975 | 0.0066 | 41.368 | 787372.433 | 13249102.164 | Sierra Pacific Power Company | Sierra Pacific Power Company | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Tracy | 2336 | 9 | 2015 | 7461.59 | 1674646.29 | 3.665 | 0.0075 | 38.281 | 726059.932 | 12217372.127 | Sierra Pacific Power Company | Sierra Pacific Power Company | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Tracy | 2336 | 9 | 2016 | 8110.53 | 1799914.41 | 4.007 | 0.0054 | 35.098 | 793677.542 | 13355119.299 | Sierra Pacific Power Company | Sierra Pacific Power Company | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Tracy | 2336 | 9 | 2017 | 8498.8 | 1773902.31 | 3.988 | 0.0057 | 37.14 | 790023.035 | 13293688.046 | Sierra Pacific Power Company | Sierra Pacific Power Company | Combined cycle | Pipeline Natural Gas |  |  | Dry Low NOx Burners<br>Selective Catalytic Reduction
NV | Tri-Center Naniwa Energy | 55494 | CT3 | 2014 | 0 | [6 empty] | Tri-Center Naniwa Energy | Tri-Center Naniwa Energy | Combustion turbine | Pipeline Natural Gas |  |  | Water Injection<br>Selective Catalytic Reduction
NV | Tri-Center Naniwa Energy | 55494 | CT3 | 2015 | 0 | [6 empty] | Tri-Center Naniwa Energy | Tri-Center Naniwa Energy | Combustion turbine | Pipeline Natural Gas |  |  | Water Injection<br>Selective Catalytic Reduction
NV | Tri-Center Naniwa Energy | 55494 | CT3 | 2016 | 0 | [6 empty] | Tri-Center Naniwa Energy | Tri-Center Naniwa Energy | Combustion turbine | Pipeline Natural Gas |  |  | Water Injection<br>Selective Catalytic Reduction
NV | Tri-Center Naniwa Energy | 55494 | CT4 | 2014 | 0 | [6 empty] | Tri-Center Naniwa Energy | Tri-Center Naniwa Energy | Combustion turbine | Pipeline Natural Gas |  |  | Water Injection<br>Selective Catalytic Reduction
NV | Tri-Center Naniwa Energy | 55494 | CT4 | 2015 | 0 | [6 empty] | Tri-Center Naniwa Energy | Tri-Center Naniwa Energy | Combustion turbine | Pipeline Natural Gas |  |  | Water Injection<br>Selective Catalytic Reduction
NV | Tri-Center Naniwa Energy | 55494 | CT4 | 2016 | 0 | [6 empty] | Tri-Center Naniwa Energy | Tri-Center Naniwa Energy | Combustion turbine | Pipeline Natural Gas |  |  | Water Injection<br>Selective Catalytic Reduction
NV | Tri-Center Naniwa Energy | 55494 | CT5 | 2014 | 0 | [6 empty] | Tri-Center Naniwa Energy | Tri-Center Naniwa Energy | Combustion turbine | Pipeline Natural Gas |  |  | Water Injection<br>Selective Catalytic Reduction
NV | Tri-Center Naniwa Energy | 55494 | CT5 | 2015 | 0 | [6 empty] | Tri-Center Naniwa Energy | Tri-Center Naniwa Energy | Combustion turbine | Pipeline Natural Gas |  |  | Water Injection<br>Selective Catalytic Reduction
NV | Tri-Center Naniwa Energy | 55494 | CT5 | 2016 | 0 | [6 empty] | Tri-Center Naniwa Energy | Tri-Center Naniwa Energy | Combustion turbine | Pipeline Natural Gas |  |  | Water Injection<br>Selective Catalytic Reduction
NV | Tri-Center Naniwa Energy | 55494 | CT6 | 2014 | 0 | [6 empty] | Tri-Center Naniwa Energy | Tri-Center Naniwa Energy | Combustion turbine | Pipeline Natural Gas |  |  | Water Injection<br>Selective Catalytic Reduction
NV | Tri-Center Naniwa Energy | 55494 | CT6 | 2015 | 0 | [6 empty] | Tri-Center Naniwa Energy | Tri-Center Naniwa Energy | Combustion turbine | Pipeline Natural Gas |  |  | Water Injection<br>Selective Catalytic Reduction
NV | Tri-Center Naniwa Energy | 55494 | CT6 | 2016 | 0 | [6 empty] | Tri-Center Naniwa Energy | Tri-Center Naniwa Energy | Combustion turbine | Pipeline Natural Gas |  |  | Water Injection<br>Selective Catalytic Reduction
NV | TS Power Plant | 56224 | 1 | 2014 | 7512.92 | 1564200.16 | 239.048 | 0.0472 | 339.322 | 1487420.871 | 14192293.699 | Newmont Nevada Energy Investment LLC | Newmont Nevada Energy Investment LLC | Dry bottom wall-fired boiler | Coal | Diesel Oil | Dry Lime FGD | Low NOx Burner Technology w/ Overfire Air<br>Selective Catalytic Reduction
NV | TS Power Plant | 56224 | 1 | 2015 | 8026.35 | 960405.34 | 113.661 | 0.0476 | 232.042 | 1009782.685 | 9647170.842 | Newmont Nevada Energy Investment LLC | Newmont Nevada Energy Investment LLC | Dry bottom wall-fired boiler | Coal | Diesel Oil | Dry Lime FGD | Low NOx Burner Technology w/ Overfire Air<br>Selective Catalytic Reduction
NV | TS Power Plant | 56224 | 1 | 2016 | 8163.89 | 994072.6 | 115.869 | 0.0486 | 232.564 | 993318.449 | 9491962.987 | Newmont Nevada Energy Investment LLC | Newmont Nevada Energy Investment LLC | Dry bottom wall-fired boiler | Coal | Diesel Oil | Dry Lime FGD | Low NOx Burner Technology w/ Overfire Air<br>Selective Catalytic Reduction
NV | TS Power Plant | 56224 | 1 | 2017 | 8232.7 | 1081869.52 | 147.993 | 0.0489 | 256.591 | 1097749.087 | 10491225.597 | Newmont Nevada Energy Investment LLC | Newmont Nevada Energy Investment LLC | Dry bottom wall-fired boiler | Coal | Diesel Oil | Dry Lime FGD | Low NOx Burner Technology w/ Overfire Air<br>Selective Catalytic Reduction
NV | Walter M. Higgins III Generating Station | 55687 | BHG1 | 2014 | 5948.88 | 1131491.18 | 2.505 | 0.0138 | 43 | 496287.509 | 8350975.816 | NV Energy | NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Selective Catalytic Reduction
NV | Walter M. Higgins III Generating Station | 55687 | BHG1 | 2015 | 5841.58 | 1203816.86 | 2.604 | 0.009 | 36.106 | 515822.732 | 8679611.982 | NV Energy | NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Selective Catalytic Reduction
NV | Walter M. Higgins III Generating Station | 55687 | BHG1 | 2016 | 8294.97 | 1827094.38 | 3.89 | 0.0083 | 52.147 | 770627.106 | 12967192.434 | NV Energy | NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Selective Catalytic Reduction
NV | Walter M. Higgins III Generating Station | 55687 | BHG1 | 2017 | 6459.77 | 1350065.22 | 2.924 | 0.0095 | 40.284 | 579197.553 | 9746059.687 | NV Energy | NV Energy | Combined cycle | Pipeline Natural Gas |  |  | Selective Catalytic Reduction
NV | Walter M. Higgins III Generating Station | 55687 | BHG2 | 2014 | 4800.9 | 933466.76 | 2.048 | 0.0139 | 36.627 | 405589.131 | 6824935.546 | NV Energy | NV Energy | Combined cycle | Pipeline Natural Gas
NV | Walter M. Higgins III Generating Station | 55687 | BHG2 | 2015 | 7215.26 | 1469391.59 | 3.192 | 0.009 | 44.407 | 632258.853 | 10638942.854 | NV Energy | NV Energy | Combined cycle | Pipeline Natural Gas
NV | Walter M. Higgins III Generating Station | 55687 | BHG2 | 2016 | 8137.16 | 1770995.79 | 3.77 | 0.0082 | 50.661 | 746766.339 | 12565768.69 | NV Energy | NV Energy | Combined cycle | Pipeline Natural Gas
NV | Walter M. Higgins III Generating Station | 55687 | BHG2 | 2017 | 6257.86 | 1305498.51 | 2.823 | 0.0087 | 38.396 | 559282.762 | 9411045.634 | NV Energy | NV Energy | Combined cycle | Pipeline Natural Gas