## Slide 1
Patrick Cummins
February 25, 2019

## Slide 2: Project Tasks
  Compile a comprehensive database of information on the fleet of fossil-fired EGUs in 13-Western states (circa 2014-2017) that contains information on the plants operating characteristics and emissions
  Develop a projection of 2028 EGU emissions that incorporates expected plant closures, fuel switching, and emission controls under a “rules on the books” scenario.

## Slide 3: Highlights from Data Review
2014-17 CAMD data is accurate
  Respondents identified a number of EGUs that are not in the CAMD data base due to size, age, or other reasons. In many cases, data for these units was provided
Years with outages, overhauls, or which are not representative for other reasons were identified by respondents
  All the information provided in response to these two questions will be included in the final project report
Current controls (2017-19) not fully reflected in 2017 data were identified and incorporated into the analysis, along with units that have switched from coal to natural gas

## Slide 4: Methodology for 2028 EGU Emissions Scenarios
#1) Zero out coal units that will retire by 2028
#2) Incorporate 2018 data for remaining coal units
#3) Calculate 2016-18 average heat rate for each unit
#4) Two capacity factor scenarios
    85% nameplate capacity factor
    Highest actual MWHrs in the last three years (2016-18)
#5) Select emission rate for each unit
    2016-18 average used if no new controls over this period
    2018 (or expected/permitted) rate if new emission controls
Then: 2028 Tons Per Year = MWhrs x Heat Rate x Emission Rate
#6) Add emissions from gas plants at 2018 actuals

## Slide 5: Review Planned Retirement and 2028 Scenario Files

## Slide 6
Chart: Power Sector Emissions: 11- Western States 2028 Emissions Scenarios
| NOx (tons) | SO2 (tons)
2008 Actual | 424237.055 | 273065.008
2018 Actual | 159549.191 | 86293.721
2028 w/ coal @ 85% capacity | 106626.6425 | 63848.0164
2028 w/ coal @ 2016-18 highest generation | 95874.1152 | 55902.1324

## Slide 7
Chart: North Dakota Power Sector 2028 Emissions Scenarios
| 2008 actual | 2018 actual | 2028 @ 85% capacity | 2028 @ 2016-18 highest generation
NOx (tons) | 66836.88 | 33779.368 | 32738.7329 | 33594.9866
SO2 (tons) | 132564.481 | 39560.657 | 38548.2386 | 39970.0545

## Slide 8
Chart: South Dakota Power Sector 2028 Emissions Scenarios
| 2008 actual | 2018 actual | 2028 @ 85% capacity | 2028 @ 2016-18 highest generation
NOx (tons) | 14110.136 | 1379.066 | 1832.3013 | 1430.3223
SO2 (tons) | 13538.235 | 1005.608 | 1310.938 | 960.6257

## Slide 9
Chart: 
| NOX
north dakota | 33525.5586
utah | 21797.005
wyoming | 19187.9922
colorado | 11778.1363
arizona | 9318.8112
montana | 9315.4211
navajo nation | 3359.4326
new mexico | 2453.9894
south dakota | 1102.3063
nevada | 281.4073

## Slide 10
Chart: 
| SO2
north dakota | 39970.0545
wyoming | 21610.5017
colorado | 10020.2066
arizona | 8178.0087
utah | 7227.0085
montana | 5204.8762
navajo nation | 2099.6454
south dakota | 960.6257
new mexico | 883.0244
nevada | 170.8219

## Slide 11: Use 2018 Actual Emissions for Gas Generation? (Note: 2018 NOX emissions from gas generation = highest recent emissions from gas.)

## Slide 12
Chart: WECC - 2018 NOx (tons)
| 2018 NOx (tons)
planned retirements | 64889.861
remaining coal units | 79527.256
10 states gas >100 tpy | 6214.44
10 states gas <100 tpy | 5963.882
California | 2953.752

## Slide 13
Chart: WECC Net Generation (000 MWHrs) EIA – Rolling 12-Month Total
| 41944 | 41974 | 42005 | 42036 | 42064 | 42095 | 42125 | 42156 | 42186 | 42217 | 42248 | 42278 | 42309 | 42339 | 42370 | 42401 | 42430 | 42461 | 42491 | 42522 | 42552 | 42583 | 42614 | 42644 | 42675 | 42705 | 42736 | 42767 | 42795 | 42826 | 42856 | 42887 | 42917 | 42948 | 42979 | 43009 | 43040 | 43070 | 43101 | 43132 | 43160 | 43191 | 43221 | 43252 | 43282 | 43313 | 43344 | 43374 | 43405
Coal | 206119 | 205276 | 203161 | 199270 | 198009 | 197181 | 197282 | 198062 | 196679 | 195450 | 193731 | 192690 | 190713 | 189373 | 188325 | 186946 | 182638 | 178365 | 173821 | 171261 | 170321 | 169272 | 168105 | 167737 | 167250 | 167969 | 168660 | 169948 | 171536 | 172251 | 173060 | 171719 | 171340 | 171505 | 171531 | 170428 | 171120 | 168773 | 166140 | 164005 | 163659 | 163197 | 161819 | 160634 | 159521 | 158102 | 157192 | 156718 | 157065
Natural Gas | 232538 | 227319 | 225138 | 220235 | 221083 | 223242 | 223625 | 230443 | 232493 | 234940 | 235955 | 237284 | 239342 | 242431 | 244996 | 248233 | 247336 | 245096 | 244490 | 242228 | 241025 | 240174 | 236397 | 230931 | 225986 | 222380 | 220642 | 216586 | 212499 | 209262 | 206743 | 202298 | 201415 | 200431 | 199136 | 199689 | 200856 | 202290 | 200407 | 202209 | 207269 | 210116 | 211005 | 212397 | 216794 | 218416 | 220956 | 222869 | 225548
Nuclear | 58518 | 58803 | 58763 | 59497 | 60219 | 60171 | 59685 | 58919 | 58717 | 59132 | 59084 | 59038 | 59104 | 59194 | 59373 | 59580 | 59543 | 59715 | 59139 | 59809 | 60023 | 60038 | 59780 | 60419 | 61010 | 60910 | 60823 | 60619 | 60501 | 59979 | 59323 | 58187 | 58122 | 57830 | 58103 | 58166 | 58168 | 58371 | 58417 | 57777 | 57337 | 57583 | 59085 | 60153 | 60061 | 60299 | 60339 | 60266 | 59480
Hydro | 161097 | 163620 | 167655 | 173712 | 173009 | 169353 | 163957 | 158177 | 152970 | 151937 | 152362 | 152133 | 151365 | 149267 | 146518 | 144246 | 146382 | 151595 | 156783 | 160743 | 163361 | 164280 | 165005 | 167115 | 170008 | 173694 | 178913 | 181867 | 184875 | 186895 | 190266 | 194981 | 197699 | 199154 | 200958 | 200358 | 198958 | 197609 | 196734 | 197070 | 192823 | 190566 | 189474 | 186972 | 185077 | 183942 | 181978 | 181170 | 181045
Renewables | 95799 | 96052 | 95344 | 95497 | 95344 | 95645 | 96036 | 95416 | 96719 | 98367 | 98654 | 98804 | 98699 | 100387 | 101629 | 103197 | 105078 | 106017 | 107688 | 109294 | 111202 | 112074 | 114158 | 116052 | 116978 | 117500 | 117872 | 117523 | 118368 | 120219 | 121585 | 123797 | 124522 | 125815 | 126688 | 128443 | 128838 | 128693 | 131112 | 133742 | 135213 | 136511 | 137649 | 138695 | 138715 | 139524 | 139959 | 139327 | 140239

## Slide 14
Chart: Net Generation from Natural Gas Units (000 MWHrs) EIA – Rolling 12-Month Total

## Slide 15: Loose Ends and Next Steps
Need California data
Incorporate data for units not in CAMD database
Identify any known new gas units (IPP, MDU, other)
Verify 2018 data
Data clean up and corrections
  Add Spiritwood
  Naughton 3 gas emissions?
  Centralia – only 9 months in CAMD for 2018
Examine approaches for considering additional EGU controls for next phase of this regional haze planning process
  Review and discuss at March 12 workshop in Denver